## Sheet10
Rb | Id narudžbine | Katalog | Kataloški broj | Opis dobra | Količina | Jedinična cena | Ukupna cena | Naziv institucije - mesto isporuke | Adresa - mesto isporuke | Primalac isporuke | Email
1 | 72167 | LABBOX LABWARE | #FUS3-050-012 | LABBOX: Funnel with short stem, diameter on the top 50 mm, diameter of stem 7 mm, Made of borosilicate glass LBG 3.3 and according to ISO 4798 standard (12 pcs per sales unit) ; Levak sa kratkom cevi, precnik na vrhu 50 mm, precnik cevi 7 mm, napravl | 1 |  | 0 | Fakultet za fizičku hemiju u Beogradu | Studentski trg 12-16 11000 Beograd | Gordana Ćirić Marjanović | gordana@ffh.bg.ac.rs
2 | 72169 | LABBOX LABWARE | #BKT3-050-012 | LABBOX: Beaker, tall form, capacity 50 ml, diameter 38 mm, height 70 mm, Graduated and with spout. Made of borosilicate glass LBG 3.3, According to DIN 12331, ISO 3819 (12 pcs per sales unit); Čaša, visoka forma, kapacitet 50 ml, prečnik 38 mm, vi | 1 |  | 0 | Fakultet za fizičku hemiju u Beogradu | Studentski trg 12-16 11000 Beograd | Gordana Ćirić Marjanović | gordana@ffh.bg.ac.rs
3 | 73772 | LABBOX LABWARE | #GLON-00M-1K0 | Nitrile disposable gloves, 10 x 100 Powder-free gloves Saving package | 1 |  | 0 | Institut za biološka istraživanja `Siniša Stanković` u Beogradu | 29. novembar 142 11060 Beograd | Srđan Bojović | bojovic@ibiss.bg.ac.rs
4 | 73773 | LABBOX LABWARE | #MASK-000-100 | Disposable tie-on mask, 100 pcs | 1 |  | 0 | Institut za biološka istraživanja `Siniša Stanković` u Beogradu | 29. novembar 142 11060 Beograd | Srđan Bojović | bojovic@ibiss.bg.ac.rs
5 | 73893 | LABBOX LABWARE | #SPCS-150-005 | Spatula, Chattaway, I 150 mm, w 6 mm | 1 |  | 0 | Institut za biološka istraživanja `Siniša Stanković` u Beogradu | 29. novembar 142 11060 Beograd | Srđan Bojović | bojovic@ibiss.bg.ac.rs
6 | 73894 | LABBOX LABWARE | #SPNS-200-005 | Micro spatule with spoon, I 200 mm, w 4 mm | 1 |  | 0 | Institut za biološka istraživanja `Siniša Stanković` u Beogradu | 29. novembar 142 11060 Beograd | Srđan Bojović | bojovic@ibiss.bg.ac.rs
7 | 73895 | LABBOX LABWARE | #SPDS-180-005 | Doubled curved-end spatula, I 180 mm, w 11 mm | 1 |  | 0 | Institut za biološka istraživanja `Siniša Stanković` u Beogradu | 29. novembar 142 11060 Beograd | Srđan Bojović | bojovic@ibiss.bg.ac.rs
8 | 73961 | LABBOX LABWARE | #RET3-002-001 | Receiver adapter, bent at 105º, with internal tube and lateral hose, 29/32 | 2 |  | 0 | Prirodnomatematički fakultet u Kragujevacu | Radoja Domanovića 12 34000 Kragujevac | Slavica Solujić | ssolujic@kg.ac.rs
9 | 74482 | LABBOX LABWARE | #KNIS-170-001 | Knife, Blade made of stainless steel 18/8 | 1 |  | 0 | Institut za biološka istraživanja `Siniša Stanković` u Beogradu | 29. novembar 142 11060 Beograd | Srđan Bojović | bojovic@ibiss.bg.ac.rs
10 | 74483 | LABBOX LABWARE | #SCIS-220-001 | Scissors, Made of stainless steel, for general use, with PVC handle | 3 |  | 0 | Institut za biološka istraživanja `Siniša Stanković` u Beogradu | 29. novembar 142 11060 Beograd | Srđan Bojović | bojovic@ibiss.bg.ac.rs
11 | 74484 | LABBOX LABWARE | #BRU1-KIT-001 | Set of 15 assorted brushes | 1 |  | 0 | Institut za biološka istraživanja `Siniša Stanković` u Beogradu | 29. novembar 142 11060 Beograd | Srđan Bojović | bojovic@ibiss.bg.ac.rs
12 | 74485 | LABBOX LABWARE | #BKLP-250-012 | Beaker, polypropylene, 250 ml, 12 pcs per sales unit | 1 |  | 0 | Institut za biološka istraživanja `Siniša Stanković` u Beogradu | 29. novembar 142 11060 Beograd | Srđan Bojović | bojovic@ibiss.bg.ac.rs
13 | 77960 | LABBOX LABWARE | #BM11-HD2-001 | High- end biological microscope, MOTIC BA-210 Digital. Binocular head, Siedentopf type, 30º inclined with built-in digital camera CMOS 1/2” chip 2048 x 1536 pixels with USB 2.0 output Widefield N-WF10X/20 mm eyepieces Reversed quadruple nosepiece | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
14 | 78002 | LABBOX LABWARE | #TIPF-020-960 | Filtered PP micropipette tips 0,5 - 20 µl labbox+. 10 racks of 96 tips each | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
15 | 78003 | LABBOX LABWARE | #TIPP-201-1K0 | PP micropipette tips 2 - 200 µl. Eppendorf type. 1000 pcs | 2 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
16 | 78004 | LABBOX LABWARE | #TIPP-011-1K0 | PP micropipette tips 0,5 - 10 µl. Eppendorf type. 1000 pcs | 2 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
17 | 78005 | LABBOX LABWARE | #TIPP-1K1-1K0 | PP micropipette tips 100 - 1000 µl. Eppendorf type. 1000 pcs | 2 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
18 | 78006 | LABBOX LABWARE | #PCRD-020-1K0 | Microcentrifuge tube, graduated, DNAse and RNAse free, labbox+. Capacity 2.0 ml. Round bottom, neutral colorGraduated. Human DNA free and certified DNAse, RNAse and PCR-inhibitors free. Autoclavable. 1000 pcs | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
19 | 78007 | LABBOX LABWARE | #PCRP-020-500 | Microcentrifuge tube, graduated, round bottom. Capacity 2.0 ml.Natural color. Made of polypropylene. Autoclavable. 500 pcs | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
20 | 78008 | LABBOX LABWARE | #PCRD-015-1K0 | Microcentrifuge tube, graduated, DNAse and RNAse free, labbox+. Capacity 1.5 ml. Eppendorf type, neutral color. Graduated. Human DNA free and certified DNAse, RNAse and PCR-inhibitors free. Autoclavable. 1000 pcs | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
21 | 78009 | LABBOX LABWARE | #PCRP-B15-500 | Microcentrifuge tube, graduated, with safe-lock, colored. Capacity 1.5 ml. Eppendorf type, blue. Made of polypropylene. Autoclavable. 500 pcs | 2 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
22 | 78010 | LABBOX LABWARE | #SPCR-015-500 | Microcentrifuge tube with screw cap. Capacity 1.5 ml. Made of polypropylene. Autoclavable. 500 pcs | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
23 | 78011 | LABBOX LABWARE | #PCRD-F05-1K0 | PCR microtube, DNAse and RNAse free, labbox+. Capacity 0.5 ml. For PCR. Thin-walled. Flat lid. Made of polypropylene, autoclavable. 1000 pcs | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
24 | 78012 | LABBOX LABWARE | #PCRD-F02-1K0 | PCR microtube, DNAse and RNAse free, labbox+. Capacity 0.2 ml. PCR flat lid. Thin wall tube for PCR, optimized for all thermocyclers models. Human DNA free and certified DNAse, RNAse and PCR-inhibitors free. Natural colour, autoclavable. 1000 pcs (EU | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
25 | 78013 | LABBOX LABWARE | #MPSP-001-001 | Micro pestle for microtubes. Made of polypropylene. Autoclavable at 121 ºC. One end is for breaking up solids in 1,5 ml microtubes, and the other end to be used in 0,5 ml microtubes | 10 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
26 | 78014 | LABBOX LABWARE | #PBOX-Y96-001 | PCR microtube 0,2 ml storage box. Up to 96 tubes (8x12) 0,2 ml. Yellow color. Made of polypropylene. Autoclavable. With transparent lid | 2 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
27 | 78015 | LABBOX LABWARE | #FBXP-101-001 | Plastic freezer box for cryotubes with snap-on lid. Made of polypropylene. Autoclavable and suitable for freezing (withstand temperatures from -130 ºC up to +130 ºC). Box with 100 alphanumeric printed positions and suitable for cryotubes up to 2 ml | 2 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
28 | 78016 | LABBOX LABWARE | #FBXP-G02-001 | Plastic freezer box for cryotubes with numeric graduation on lid. Green, for tubes up to 2 ml. Made of polypropylene with alphanumeric numeration printed on lid and bottom | 2 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
29 | 78017 | LABBOX LABWARE | #TTSP-024-001 | Test tubes rack. Made of polypropylene. Square holes. Does not float or turn over in a water bath. Can be dismantled | 4 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
30 | 78018 | LABBOX LABWARE | #TTSS-Y24-001 | Centrifuge tubes rack. Made of stainless steel, for 6 x 4 15 ml tubes | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
31 | 78019 | LABBOX LABWARE | #CBOX-049-001 | Carton freezer box for centrifuge tubes. For 15 ml polypropylene graduated centrifuge tubes. up to 49 tubes (15 ml) | 2 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
32 | 78020 | LABBOX LABWARE | #CBOX-016-001 | Carton freezer box for centrifuge tubes. For 50 ml polypropylene graduated centrifuge tubes. up to 16 tubes (50 ml) | 2 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
33 | 78022 | LABBOX LABWARE | #CRMC-025-006 | Melting crucible medium form, with lid. 6 pcs | 5 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
34 | 78023 | LABBOX LABWARE | #BIGP-10K-001 | Drum with faucet. Capacity 10l. De HDPE (polietileno de alta densidad). Incluye tapón de rosca y grifo | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
35 | 78024 | LABBOX LABWARE | #GLOL-00S-100 | Latex disposable exam gloves. Powder-free, non sterile. S size. 10 x 100 Powder-free gloves Saving package | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
36 | 78025 | LABBOX LABWARE | #GLON-00S-1K0 | Nitrile disposable gloves. Powder-free, non sterile. S size. 10 x 100 Powder-free gloves Saving package | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
37 | 78026 | LABBOX LABWARE | #GLOV-00S-100 | Vinyl disposable gloves, power free, S (6-7) size. 100 slides per dispenser | 5 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
38 | 78027 | LABBOX LABWARE | #BUNS-N01-001 | Bunsen burner with tap. Bunsen with tap and flame stabilizer, for Natural gas. Nickel-plated brass tube 11 mm diameter x 130 mm height | 2 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
39 | 78028 | LABBOX LABWARE | #CTGP-E15-050 | Centrifuge tube, polypropylene, with graduation, 15 mlConical bottom without skirt. Autoclavable. Sterile reference is by ethylene oxide Dimensions: tube Ø 16,5 mm, 120 mm high and cap Ø 22 mm. sterile in single package, 50 | 2 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
40 | 78029 | LABBOX LABWARE | #CTSP-E50-050 | Centrifuge tube, polypropylene, with graduation, 50 ml. Conical bottom with skirt. Autoclavable. Sterile reference is by ethylene oxide. Dimensions: tube Ø 29 mm, 115 mm high and cap Ø 33,5 mm. sterile in single package, 50 | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
41 | 78030 | LABBOX LABWARE | #PDIP-E91-625 | 90 mm Polystyrene Petri dishes. Sterile by irradition, with 3 vents. Packed in a bag of 25 units, 625 pcs | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
42 | 78031 | LABBOX LABWARE | #PDIP-E92-500 | 90 mm Polystyrene Petri dishes. Sterile by irradition, with 3 vents, 2 compartments. Packed in a bag of 20 units, 500 pcs | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
43 | 78032 | LABBOX LABWARE | #TRTN-450-030 | Glass jar with screw cap. Capacity 450 ml. Made of neutral glass LBG N. White lid. 30 pcs | 2 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
44 | 78033 | LABBOX LABWARE | #TRTN-720-020 | Glass jar with screw cap. Capacity 720 ml. Made of neutral glass LBG N. White lid. 20 pcs | 2 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
45 | 78034 | LABBOX LABWARE | #LOOP-E10-500 | Inoculation loops, calibrated. 10 µl blue color, sterile, 1 pcs/peel pack. 500 pcs | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
46 | 78035 | LABBOX LABWARE | #DISS-001-005 | Dissection needle, 5 pcs | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
47 | 78036 | LABBOX LABWARE | #KOLA-003-025 | Lancet tip end. 25 pcs | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
48 | 78037 | LABBOX LABWARE | #RB04-125-012 | Reagent bottle amber, wide mouth, with glass stopper. Capacity 125 ml. 12 pcs | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
49 | 78038 | LABBOX LABWARE | #MORK-100-001 | Porcelain mortar with pestle labbox+. Capacity 100 ml | 10 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
50 | 78039 | LABBOX LABWARE | #PSRP-094-001 | Pipette stand, rotary. Polypropylene. For pipettes up to 10 mm of diameter | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
51 | 78040 | LABBOX LABWARE | #WPPR-075-500 | Weighing paper. In square sheets 75x75 mm. 500 pcs | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
52 | 78041 | LABBOX LABWARE | #TRYP-002-001 | Laboratory tray. 450x350x75mm. Made of polypropylene. Autoclavable at 121ºC | 1 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
53 | 78043 | LABBOX LABWARE | #WDIN-080-010 | Watch glass dish. ø80 mm. Made of neutral glass LBG N. 10 pcs | 2 |  | 0 | Institut za povrtarstvo u Smederevskoj Palanci | Karađorđeva 71 11420 Smederevska Palanka | Jasmina Zdravković | jzdravkovic@institut-palanka.co.rs
54 | 81024 | LABBOX LABWARE | #GLOL-OOL-1KO | sin plovo,talla, L ( 8-9) | 1000 |  | 0 | Agronomski fakultet u Čačaku | Cara Dušana 34 32000 Čačak | Radoš Pavlović | rados@tfc.kg.ac.rs
55 | 81673 | LABBOX LABWARE | #SMLQ-010-002 | Semi-mikro kiveta za spektrofotometar, sa poklopcem, optički put 10 mm, unutrašnja širina 4mm, zapremina 1.4ml, spoljašnje dimenzije 45x12.5x12.5mm, kvarc | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
56 | 81674 | LABBOX LABWARE | #SMSQ-010-002 | Semi-mikro kiveta za spektrofotometar, sa PTFE poklopcem, za isparljive uzorke, optički put 10 mm, unutrašnja širina 4mm, zapremina 1.4ml, spoljašnje dimenzije 45x12.5x12.5mm, kvarc | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
57 | 81675 | LABBOX LABWARE | #MILQ-010-002 | Mikro kiveta za spektrofotometar, sa poklopcem, optički put 10 mm, unutrašnja širina 2mm, zapremina 0.7ml, spoljašnje dimenzije 45x12.5x12.5mm, kvarc | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
58 | 81676 | LABBOX LABWARE | #MASQ-010-002 | Makro (standardna) kiveta za spektrofotometar, sa PTFE poklopcem, za isparljive uzorke, optički put 10 mm, unutrašnja širina 10mm, zapremina 3.5ml, spoljašnje dimenzije 45x12.5x12.5mm, kvarc | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
59 | 81677 | LABBOX LABWARE | #SPNS-150-001 | Mirko-špatula sa kašičicom, SS, dužina 150mm | 3 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
60 | 81678 | LABBOX LABWARE | #SPNS-200-001 | Mirko-špatula sa kašičicom, SS, dužina 200mm | 5 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
61 | 81679 | LABBOX LABWARE | #SPMS-100-001 | špatula | 5 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
62 | 81680 | LABBOX LABWARE | #VZK-099-1K0 | Viale od providnog stakla 2ml, 12x32mm (Agilent tip, 9-425), gradusiane, sa površinom za pisanje + plavi zapušači (9mm) na navoj sa ugrađenim pre/slitovanim belo/plavim silikon/PTFE septama, 1mm 1 1000/pak | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
63 | 81681 | LABBOX LABWARE | #CAP-001-1K0 | poklopci za viale 1000 kom | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
64 | 81682 | LABBOX LABWARE | #MORK-150-001 | avan | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
65 | 81683 | LABBOX LABWARE | #BKLG-100-012 | čaše | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
66 | 81684 | LABBOX LABWARE | #BKLG-250-012 | čaše | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
67 | 81685 | LABBOX LABWARE | #BKLG-600-012 | čaše | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
68 | 81686 | LABBOX LABWARE | #FORS-001-002 | pinceta | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
69 | 81687 | LABBOX LABWARE | #FORS-004-002 | pinceta | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
70 | 81688 | LABBOX LABWARE | #SBG3-500-001 | boca za mobilne faze 0.5 L | 6 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
71 | 81689 | LABBOX LABWARE | #SBGA-250-001 | boca za mobilne faze 0.25 L | 6 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
72 | 81690 | LABBOX LABWARE | #RB 01-125-012 | reagens boce | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
73 | 81691 | LABBOX LABWARE | #RB 03-125-012 | reagens boce | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
74 | 81692 | LABBOX LABWARE | #RB 04-125-012 | reagens boce | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
75 | 81866 | LABBOX LABWARE | #FLP3-010-001 | kruškoliki balon za uparavanje | 5 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
76 | 81867 | LABBOX LABWARE | #FLP3-025-001 | kruškoliki balon za uparavanje | 5 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
77 | 81868 | LABBOX LABWARE | #REA3-001-001 | adapter, muški izvod 14/23, ženski izvod 29/32 | 2 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
78 | 81869 | LABBOX LABWARE | #FLSP-001-001 | postolje za balone | 2 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
79 | 81870 | LABBOX LABWARE | #CORK-080-001 | postolje za balone | 2 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
80 | 81871 | LABBOX LABWARE | #CORK-100-001 | postolje za balone | 2 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
81 | 81872 | LABBOX LABWARE | #CORK-120-001 | postolje za balone | 2 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
82 | 81873 | LABBOX LABWARE | #BFL3-101-001 | balon za uparavanje | 5 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
83 | 81874 | LABBOX LABWARE | #BFL3-250-001 | balon za uparavanje | 5 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
84 | 81875 | LABBOX LABWARE | #MCH3-005-001 | menzure 5 mL | 2 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
85 | 81876 | LABBOX LABWARE | #MCH3-010-001 | menzure 10 mL | 2 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
86 | 81877 | LABBOX LABWARE | #MCH3-025-001 | menzure 25 mL | 2 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
87 | 81878 | LABBOX LABWARE | #MCH3-050-001 | menzure 50 mL | 2 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
88 | 81879 | LABBOX LABWARE | #CTGP-050-050 | tube za uzorke | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
89 | 81880 | LABBOX LABWARE | #CTSP-050-050 | tube za uzorke | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
90 | 81881 | LABBOX LABWARE | #MCRP-100-001 | stalak za ependorfice | 3 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
91 | 81882 | LABBOX LABWARE | #TTSS-C24-001 | stalak za epruvete | 2 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
92 | 81883 | LABBOX LABWARE | #WFU3-003-002 | za merenje uzoraka, staklo | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
93 | 81884 | LABBOX LABWARE | #WPAP-041-500 | za merenje uzoraka, plastika | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
94 | 81885 | LABBOX LABWARE | #WPAP-089-500 | za merenje uzoraka, plastika | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
95 | 81931 | LABBOX LABWARE | #BIGP-10K-001 | kanister od 10 L | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
96 | 81932 | LABBOX LABWARE | #WBGP-500-001 | špric boca | 2 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
97 | 81933 | LABBOX LABWARE | #WBGP-503-001 | špric boca | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
98 | 81934 | LABBOX LABWARE | #WBGP-504-001 | špric boca | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
99 | 81935 | LABBOX LABWARE | #WBGP-505-001 | špric boca | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
100 | 81936 | LABBOX LABWARE | #WBGP-250-001 | špric boca | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
101 | 81937 | LABBOX LABWARE | #WBGP-253-001 | špric boca | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
102 | 81938 | LABBOX LABWARE | #SVSN-C06-306 | bočice za uzorke, 306 kom | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
103 | 81939 | LABBOX LABWARE | #TIME-W24-001 | tajmer | 1 |  | 0 | Institut za nuklearne nauke `Vinča` | Mike Petrovića Alasa 12 11001 Beograd | Vesna Vasić | evasic@vinca.rs
104 | 82194 | LABBOX LABWARE | #VFK3-005-002 | Volumetric flask class A, 5 ml, 10/19 | 10 |  | 0 | Institut za rudarstvo i metalurgiju u Boru | Zeleni bulevar 35 19210 Bor | Mile Bugarin | mile.bugarin@irmbor.co.rs
105 | 82195 | LABBOX LABWARE | #VFK3-010-002 | Volumetric flask class A, 10 ml, 10/19 | 50 |  | 0 | Institut za rudarstvo i metalurgiju u Boru | Zeleni bulevar 35 19210 Bor | Mile Bugarin | mile.bugarin@irmbor.co.rs
106 | 82196 | LABBOX LABWARE | #MCHA-010-001 | Measuring cylinder Hexagona, 10 ml | 3 |  | 0 | Institut za rudarstvo i metalurgiju u Boru | Zeleni bulevar 35 19210 Bor | Mile Bugarin | mile.bugarin@irmbor.co.rs
107 | 82197 | LABBOX LABWARE | #MCHA-025-001 | Measuring cylinder Hexagona, 25 ml | 3 |  | 0 | Institut za rudarstvo i metalurgiju u Boru | Zeleni bulevar 35 19210 Bor | Mile Bugarin | mile.bugarin@irmbor.co.rs
108 | 82198 | LABBOX LABWARE | #BURS-010-001 | Burette with screw type needl class A, 10 ml | 2 |  | 0 | Institut za rudarstvo i metalurgiju u Boru | Zeleni bulevar 35 19210 Bor | Mile Bugarin | mile.bugarin@irmbor.co.rs
109 | 82199 | LABBOX LABWARE | #BURS-025-001 | Burette with screw type needl class A, 25 ml | 2 |  | 0 | Institut za rudarstvo i metalurgiju u Boru | Zeleni bulevar 35 19210 Bor | Mile Bugarin | mile.bugarin@irmbor.co.rs
110 | 88971 | LABBOX LABWARE | #028.01.103 | NS29/32 100 ML | 3 |  | 0 | Medicinski fakultet u Nišu | Braće Taskovića 81 18000 Niš | Dušica Pavlović | pavlovic.dusica@gmail.com
111 | 88972 | LABBOX LABWARE | #051.03.006 | NS29/32 | 3 |  | 0 | Medicinski fakultet u Nišu | Braće Taskovića 81 18000 Niš | Dušica Pavlović | pavlovic.dusica@gmail.com
112 | 88973 | LABBOX LABWARE | #079.01.002 | TUBE RACKS 5X12, 16 mm | 5 |  | 0 | Medicinski fakultet u Nišu | Braće Taskovića 81 18000 Niš | Dušica Pavlović | pavlovic.dusica@gmail.com
113 | 88974 | LABBOX LABWARE | #080.06.001 | TUBE RACKS 96 x 1, 5 ml | 2 |  | 0 | Medicinski fakultet u Nišu | Braće Taskovića 81 18000 Niš | Dušica Pavlović | pavlovic.dusica@gmail.com
114 | 88975 | LABBOX LABWARE | #098.02.002 | kivete za aptektrofotometar-makro-PS/100 kom | 1 |  | 0 | Medicinski fakultet u Nišu | Braće Taskovića 81 18000 Niš | Dušica Pavlović | pavlovic.dusica@gmail.com
115 | 90787 | LABBOX LABWARE | #CRTD-002-100 | Cryotube with screw cap, sterile, 100/pk | 3 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
116 | 90788 | LABBOX LABWARE | #PDIP-09N-500 | 90 mm Polystyrene Petri dishes, 600/pk | 4 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
117 | 90789 | LABBOX LABWARE | #MPIA-001-005 | Glass measuring pipette, 1 ml, 5/pk | 4 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
118 | 90790 | LABBOX LABWARE | #MPIA-002-005 | Glass measuring pipette, 2 ml, 5/pk | 4 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
119 | 90791 | LABBOX LABWARE | #MPIA-010-005 | Glass measuring pipette, 10 ml, 5/pk | 4 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
120 | 90792 | LABBOX LABWARE | #MCH3-500-001 | Measuring cylinder hexagenal base, 500 ml | 2 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
121 | 90793 | LABBOX LABWARE | #MCH3-100-001 | Measuring cylinder hexagenal base, 100 ml | 2 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
122 | 90794 | LABBOX LABWARE | #CTSP-E50-050 | Centrifuge tube, polypropylene, with graduation and skirt, 50/pk | 1 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
123 | 90795 | LABBOX LABWARE | #EFN3-250-012 | Erlenmayer flask, narrow neck, 250 ml, 12/pk | 1 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
124 | 90796 | LABBOX LABWARE | #EFN3-500-008 | Erlenmayer flask, narrow neck, 500 ml, 8/pk | 2 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
125 | 90797 | LABBOX LABWARE | #EAS2-025-001 | EASY 20 bottle top dispenser, 1-10 ml | 1 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
126 | 90798 | LABBOX LABWARE | #MAGC-008-001 | Magnetic stirring bar, cylindrical | 10 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
127 | 90799 | LABBOX LABWARE | #CBOX-100-001 | Carton freezer box for cryotubes up to 2 ml | 10 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
128 | 90828 | LABBOX LABWARE | #BKL3-250-012 | Beaker, low form (Griffin form), 250 ml, 12/pk | 1 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
129 | 90829 | LABBOX LABWARE | #BKL3-050-012 | Beaker, low form (Griffin form), 50 ml, 12/pk | 1 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
130 | 90830 | LABBOX LABWARE | #EVFK-200-006 | Evaporating dish, porcelain, flat bottom, 200 ml, 6/pk | 1 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
131 | 90831 | LABBOX LABWARE | #MCH3-1K0-001 | Measuring cylinder hexagonal base, class B, 1000 ml | 2 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
132 | 90832 | LABBOX LABWARE | #MPIA-002-005 | Glass measuring pipette, class A, 2 ml, 5/pk | 1 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
133 | 90833 | LABBOX LABWARE | #EAS5-001-001 | Easy5 rubber pipette filler,standard:for pipettes up to 10ml | 4 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
134 | 90834 | LABBOX LABWARE | #BFUK-600-001 | Buchner funnel, porcelain , 600 ml | 1 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
135 | 90835 | LABBOX LABWARE | #CRTM-250-002 | Crucible tongs, medium bow , 250 mm, 2/pk | 1 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
136 | 90836 | LABBOX LABWARE | #THER-110-001 | Thermometer, -10 - +110 C | 3 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
137 | 90837 | LABBOX LABWARE | #HOTC-012-005 | Hoffman’s tubing clip, < 7 mm. 5/pk | 1 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
138 | 90838 | LABBOX LABWARE | #HOTC-017-005 | Hoffman’s tubing clip, < 14 mm, 5/pk | 1 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
139 | 90839 | LABBOX LABWARE | #HOSS-010-005 | Hose clamp, 5/pk | 1 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
140 | 90840 | LABBOX LABWARE | #HOSS-015-005 | Hose clamp, 5/pk | 1 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
141 | 90841 | LABBOX LABWARE | #QNHM-110-100 | PRAT DUMAS hardened quantitative filter paper, medium flow rate, 110 mm, 100/pk | 1 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
142 | 90842 | LABBOX LABWARE | #GFFC-090-100 | Microfiber glass filter paper, grade GFFC (1,2 µm), 100/pk | 1 |  | 0 | Institut za hemiju, tehnologiju i metalurgiju u Beogradu | Njegoševa 12 11000 Beograd | Dušan Jovanović | dusanmj@yahoo.com
Total |  |  |  |  | 1350 |  | 0