## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 27 | Bidder: |  | TOTAL DAP PRICE OF LOT No27: |  |  | 0
Delivery address: Institut za nuklearne nauke `Vinča`, Mike Petrovica Alasa 12-14, 11000 Beograd, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Hydrogen sorption analyser |  |  | 1 | 0 | 0
| 749 | Maximum pressure: 25, 50 or 100 bar according to customer request Pressure sensitivity: 0.5% of reading Pressure dynamic range: 4 decades Maximum temperature: 500 °C Temperature accuracy: 1°C Volume of the reaction chamber: 60 cm3 Volume of the sample holder: 3 cm3 Tubular furnace with lift handle and drive shaft for easy and precise positioning Computer control with LCD display on chassis Synoptic panel for instrument control and supervision Manual and automatic operation Real-time data display and storage Safety and consistency controls Setup and execution of complex test patterns: cycles, PCI, ramps, etc. Remote operation and display through web server Applications Sorption kinetics at constant pressure and temperature Pressure-composition isotherms (PCI) Temperature scans at programmed heating rates
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details