## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 48 | Bidder: |  | TOTAL DAP PRICE OF LOT No48: |  |  | 0
Delivery address: Tehnološko-metalurški fakultet u Beogradu, Karnegijeva 4, 11001 Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | High pressure PVT equilibrium view cell |  |  | 1 | 0 | 0
| 1572 | High pressure PVT equilibrium view cell will be used for the determination of fluid phase transition parameters (vapor-liquid, liquid-liquid, vapor-liquid-liquid, solid-liquid) and solubility of gasses (for example CO2) at pressures up to 700 bar and temperatures up to 150°С. Operating pressure: up to 700 bar Operating temperature: up to 150°С The facility should include the following parts that are integrated into the system: - High pressure variable volume equilibrium cell with 3 sapphire windows and one video camera aimed to follow the phase transition inside the view cell. - A view cell should contain pressure (precision better than 0.25%) and temperature (precision better than 0.1%) transducers and volume measurements with the precision better than 0.1%. The cell should contain several sampling ports and one port for sampling at high pressure. - Syringe pump to fill the cell with liquefied gas (for example CO2) - HPLC pump to introduce liquid under pressure - A magnet stirrer and a magnetic bar - Heating bath to keep the cell at constant temperature - The piston actuation for precise pressure adjustment with the indication of piston position - PC with adequate software for visualization and data logging. Important note: the producer should enable the technical assistance and training that is included in the price.
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details