## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 53 | Bidder: |  | TOTAL DAP PRICE OF LOT No53: |  |  | 0
Delivery address: Institut za nuklearne nauke `Vinča`, Mike Petrovica Alasa 12-14, Belgrade. Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Fototermal system |  |  | 1 | 0 | 0
| 5020 | Pumping optical system: • wavelenght range: (600-1200nm, at least three wavelenghts) • power: 20mW – 10W, • pumping modulation range: 10Hz-1kHz, • matching optics; Detector system: • Two possibilities: i) optical: probe laser + matching interference detection system with low scattering sensitivity, matching optics and XYZ scanning translation capability, ii) photoacoustic (PA) system: PA cell + detector, Third party electronics: lock-in amplifier (dualphase), powermeter (USB), preamplifiers; Data acquisition software; Optical table (0.5m x 1m); Sample references; Sample holders; Upgrade and interconnection ability; Tech-support (via phone/e-mail…) over a reasonably long period of time (12-24 months).
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details