## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 36 | Bidder: |  | TOTAL DAP PRICE OF LOT No36: |  |  | 0
Delivery address: Institut za nuklearne nauke `Vinča`, Mike Petrovica Alasa 12-14, 11001 Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Vertical Bell Laboratory Vacuum Furnace |  |  | 1 | 0 | 0
| 1323 | Product Name Vaccum Furnace MoSi2 or carbon heating elements Type Resistance furnace Specification 300X300X400 mm Ceramic fiber board (refractory fiber modules) Quantity 1set PID automatic controller Max. Temperature 1750-1800 degree C Transformer Working Temperature 1600-1700 degree C Thermocouple Heating Elements MoSi2 or carbon heating elements Compact digital vacuum gauge & controller Temperature Accuracy (+/-0.5-1 degree C) Double step rotary vane vacuum pump Temperature Controller PID automatic control, 30 programmable segments Stainless steel vacuum flange Thermocouples B-Type Pt-Rh to Pt-Rh Working Voltage Three Phase AC 380V Power 12KW-100 KW Frequency 50/60 Hz Vacuum Degree 10^(-5) mbar
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details