## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 94 | Bidder: |  | TOTAL DAP PRICE OF LOT No6: |  |  | 0
Delivery address: Medicinski fakultet u Beogradu, Koste Todorovica 6, Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Manometry and pH-metry System for Digestive System |  |  | 1 | 0 | 0
| 30 | Manometry and pH-metry System for Digestive System consists of: 1. Ambulatory pH, Impedance & Pressure recorder element 4 pH channels Antimony or 2 pH channels Glass via RJ-45 Receptacle 2 pH channels ISFET via RJ-11 receptacle 12 Impedance channels ( 13 rings ) via RJ-45 receptacle 1 LES locator pressure channel via Lemo-4 receptacle Bluetooth interface USB Bluetooth dongle for PC USB interface kabel Windows softwear on CD-ROM (Database, Measurement, Ambulatory Gastro Analysis Software, Esophageal pH-Impedance analysis, Symptom analysis, including Pediatric analysis) Hardware Diagnostic Software VIP (Virtual Instructor Program) Query module, 9 protocols, Templates & comments Impedance pH electrode Calibration set (buffer pH 4.01 250 ml with phosphate, buffer pH 7.00 250 ml with phosphate, pH buffer tube calibration holder, electrode gel) 2. Esophageal and anorectal manometry element Multi Pressure Interface for max. l2 pressure channels with BD connector Main Module with 5 ports Safety set ( 230V) Infrared receiver and remote control Electrically powered Manometric Pump:air compressor,water container and dish Patient database software 9 Protocols for each test Stationary upper Gl investigation and analysis software (esophageal body and LES software) Anorectal manometry software Biofeedback software Query Module Hardware diagnostic software Trolley with wheels and wheel brakes, keyboard shelf and accessory rail at the top of one side of the trolley Esophageal manometry catheter, 4 channels Esophageal manometry catheter, 8 channels Anorectal balloon catheter, 4 channels Anorectal balloon catheter, 8 channels Calibration set (buffer pH 4.01 250 ml with phosphate, buffer pH 7.00 250 ml with phosphate, pH buffer tube calibration holder , electrode gel)
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details