## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 104 | Bidder: |  | TOTAL DAP PRICE OF LOT No104: |  |  | 0
Delivery address: Institut za biološka istraživanja `Siniša Stanković` u Beogradu, Despot Stefan Blvd.142, 11060 Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | UNRESTRAINED WHOLE BODY PLETHYSMOGRAPH SYSTEM FOR RAT |  |  | 1 | 0 | 0
| 1743 | Unrestrained Whole Body Plethysmograph System for rat (uWBP) consists of the most modern plethysmograph chambers, utilizing the patented HalcyonTM pneumotachographs for the quietest baselines available. uWBP for rat is supported with: FinePointeTM Research Suite; the software collection site; the integrated analog-to-digital interface through USB connection; the advanced preamplifier card with calibration signal and external gain range adjustment; the air flow measurements transducer; the four channel bias flow @ 2.5 lpm; the aerogen nebulizer head 4-6 um; 9-10 LPM aerosol system and the software for calculating the air flow (net of nasal and thoracic flows), and all air flow derived parameters (respiratory rate, tidal volume, peak flows and pauses (apneas) , taking into account temperature, humidity and pressure. Each chamber is equipped with the port for aerosol delivery or temperature and humidity measurement, a water bottle port, and a gas sampling port. Animal can move freely in the chamber for a minimum stress and study under the most natural conditions. This system allows study of the respiration for long periods of time (several hours or days) in rats free of anesthesia and stress, and also allows being combined with sleep recording (EEG and EMG recording), and/or telemetry for measuring the cardiovascular parameters, simultaneously with respiration Key benefits • Study subjects free from the effects of anesthesia• Comfortable environment – no restrainer stress • Study the same subjects repeatedly over days, weeks, and months • Study subjects for long periods of time – several hours, even days • Study several subjects simultaneously• Expose subjects to aerosols or custom gasses in situ• Minimal preparation required• Combine with other measurements Reported parameters • Enhanced pause (Penh)• Breath frequency• Tidal volume• Total volume breathed• Minute ventilation• Inspiratory time • Expiratory time• Peak inspiratory flow• Peak expiratory flow• End inspiratory pause• End expiratory pause• Relaxation time• Others
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details