## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 88 | Bidder: |  | TOTAL DAP PRICE OF LOT No88: |  |  | 0
Delivery address: Fakultet tehničkih nauka u Novom Sadu, Trg Dositeja Obradovića 6, 21000 Novi Sad, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Freeze Thaw Tester CDF CIF (Capillary suction of De-icing solutions and Freeze thaw test) |  |  | 1 | 0 | 0
| 4720 | This equipment can be used for the following freeze thaw tests: • CDF in accordance with ЕN 12390-9 (Capillary suction of De-icing solution and freeze-thaw test), • CIF in accordance with RILEM (Capillary suction, Inner damage and Freeze - thaw test) • Cube - test in accordance with ЕN 12390-9. The CDF and CIF tests are regarded as the fastest and most precise freeze-thaw tests. This equipment is most important for determining durability of traditional and new types of concrete. Features of equipment: • Dimensions of climatic chamber: 220х80х120cm, • Dimension of testing chambers (inner dimensions): 171х55cm. • Temperature range: ≤ -200C; ≥ +300C. • Max. temperature deviation: ≤ 0.5 K • Combination of air and water cooling • Included all necessary accessories (test containers, channel recorder, case holders, spacers, ultrasonic cleaning bath, filter container, ultrasonic digital indicating tester, cooling liquid tester, liquid coolant, etc.) • Ethernet TCP/IP interface.
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details