## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 100 | Bidder: |  | TOTAL DAP PRICE OF LOT No100: |  |  | 0
Delivery address: Institut za biološka istraživanja `Siniša Stanković` u Beogradu, Despot Stefan Blvd. 142, 11000 Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Portable Photosynthesis System LI-6400XTE |  |  | 1 | 0 | 0
| 1633 | A portable, fully integrated system for measurement of photosynthesis, chlorophyll fluorescence, soil & canopy CO2 flux. It should be uniquely designed for both teaching and research needs.Characteristics of the system:1) System Console with 128MB RAM for operation and 64MB flash memory for system software and data storage o Sensor head with CO2/H2O analyzers 2) Standard 6 cm2 Leaf Chamber with internal PAR sensor 3) Leaf Chamber Fluorometer 4) CO2 Injector System 5) Red/Blue LED Light Source 6) External Quantum Sensor 7) Four Rechargeable Batteries 8) Battery Charger 9) 9-pin to 9-pin RS-232 Cable and Adapter 10) RS-232 to USB Adapter 11) Ethernet Card and Cable 12) Flash Memory Card 13) Software CD for Windows 14) Spares kit 15) Carrying Case 16) Power Supply 17) Soil CO2 Flux Chamber 18) Expanded Temperature Control Kit 19) Photosynthesis Educational Resource Package 20) Three Year (total) Service Package, including three-year extended warranty, free software upgrades, one system calibration and maintenance service 21) A certificate for the training course: Gas Exchange plus Fluorescence Accessories: Conifer Chamber Needle Chamber Narrow Leaf Chamber Leaf Area Meter with sensor head to provide a powerful system for portable, non-destructive leaf area measurements.Accessories:- Automatic narrow leaf cuvette - Automatic conifer leaf cuvette - PAR Sensor - Temperature/PAR probe - Soil Respiration Chamber - Portable leaf area meter non-destructive measurements of whole leaf area and areas of leaf diseases Accessories:- Leaf Area Adapter Narrow rectangular Adapter 3010-1x4 (1 x 4 cm) 10 pieces - Cuvettes Conifers Cuvette Arabidopsis Chamber - Dark Leaf Clips (10pieces) For the determination of the maximum fluorescence signal (Fm), the leaf needs to be dark acclimated. The light-weight dark leaf clips, with positioning aid and sliding shutters, made from sun reflecting material, fit to the measuring area of the Standard Measuring Head 3010-S.- Oxygen Sensor In chlorophyll-fluorescence research, experiments are sometimes performed at decreased oxygen concentrations to avoid photorespiration. The Oxygen Sensor can be used as stand-alone system or it can be directly connected to the Central Unit for the recording of the actual oxygen concentration. It comprises a maintenance free lead-oxygen battery and is insensitive to CO2. The resolution at the is 0.03% O2.- Li-ion Battery Power supply, included in the system package. Operating time: 2-4 hours. Power: 14.4V/15 Ah.- Li-ion Battery Charger For simultaneous recharging of 2 Li-ion Batteries 3025-A, included in the system package - DC-DC Converter For supplying power to the via an external 12 V or 24 V battery (e.g. car battery). Input voltage 9-32 V, output current max. 6 A with under voltage and over temperature protection.- Outdoor-Set Consisting of sun protection shield for Control Unit, buffer vessel 10 l, with holding net, fiber glass antenna 2.5 m and tubing.- Portable leaf area meter non-destructive measurements of whole leaf area and areas of leaf diseases REMARKS:Because the apparatus of the LI-COR manufacturer contains all necessary components, we must added additional accessories to complete apparatus from the other two manufacturers.
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details