## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 120 | Bidder: |  | TOTAL DAP PRICE OF LOT No120: |  |  | 0
Delivery address: Medicinski fakultet u Beogradu, Dr Subotica 1, Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | System for Automated Microbial (Yeast, Mold and Bacteria) Genotyping |  |  | 1 | 0 | 0
| 9397 | System for Automated Microbial Genotyping for tracking the spread and source of microbial infection, contamination, or epidemics, both natural and manmade, environmental monitoring. The system who can rapidly and accurately distinguish microbial isolates at the subspecies and strain levels (fingerprints). Ability to genotype bacteria, yeast and molds, performs automated strain typing from culture, based on Rep-PCR process.Using microfluidics technology allow for reproducible, consistent results that can be compared across experiments runs samples in less than one hour.Results in 4 hours.Hardware:- Bioanalyzer - Desktop Computer with Flat Panel Monitor - Microfluidics Accessories Software:Software for instrument operation and software for data analysis included with the system (web based or local server). Automated data analysis. Standardized protocols. Easy data interpretation provides multiple tools (including a dendrogram, similarity matrix, scatterplots and graph overlays). Real-time epidemiological studies. Stores sample fingerprints, normalizes the data for comparison, analyzes the similarity between fingerprint patterns, sample upload template, provides several report options to view the data. Stored isolate in a user-defined library, they can then be compared against one another or compared to libraries of characterized isolates. Regular free up-grades of software. Consumables:Standardized kits and reagents with are quality-controlled and optimized for precise genotyping results (including controls) in an easy-to-use format that maintains a consistent and standardized procedure for each type of organism.Genus specific fingerprinting kits (include the primers and reagents needed for analyse performing). General fingerprinting kits (include the primers and reagents needed for analyze performing).Kits for extraction of microbial genomic DNA which provides a standardized extraction procedure for all organisms including Mycobacterium and Fungi.Genomic DNA standards that can be run on a gel along with the test samples to ensure both DNA quantity and quality.Standards and System temperature: The product must at least meet the following safety standards: IEC, CSA, UL. Ambient operating temperature: 5°C -40°C.Ambient non-operating temperature: 40 - 70°C.Warranty period Equipment must have at least 12 months warranty period. Installation and Training:On customer site by authorized person. Local reliable after-sales service thereafter guaranteeing maintenance.Power requirementsFor all electrical devices, 100-240VAC/50-60Hz is mandatory. Plugs and sockets should be compatible with the Serbian connectors.
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details