## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 147 | Bidder: |  | TOTAL DAP PRICE OF LOT No147: |  |  | 0
Delivery address: Astronomska opservatorija u Beogradu, Volgina 7, 11060 Belgrade 38, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Speckle Interferometer |  |  | 1 | 0 | 0
| 2588 | Minimum number of active pixels 512 x 512 Maximum pixel size (W x H) 16 x 16 micrometers CCD operating temperature bellow -90oC Lowest read noise < 1 e- with EM gain Maximum Readout Rate > 15 MHz Frame Rate @ full frame > 50 fps Direct Data Access Camera Link output port to facilitate direct access to data for ‘on the fly’ processing Software Development Kit (SDK) , available as 32 and 64-bit libraries. Compatible with C/C++, C#, Delphi, VB6, VB.NET, LabVIEW and Matlab Filter wheel including filters (U,B,V,R,I); available in 6 positions minimum
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details