## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 152 | Bidder: |  | TOTAL DAP PRICE OF LOT No152: |  |  | 0
Delivery address: Tehnološko-metalurški fakultet u Beogradu, Karnegijeva 4 street; Beograd 11120; Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | High temperature chamber |  |  | 1 | 0 | 0
| 4441 | Split tubular furnice, for tensile tests up to 1000ºC. Tensile test jig capacity up to 100kN Temparature controller Electronic extensometer for test up to 1000ºC Software for data acquisition and control system Tension/compresion load cell 10kN capacity
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details