## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 158 | Bidder: |  | TOTAL DAP PRICE OF LOT No158: |  |  | 0
Delivery address: Medicinski fakultet u Beogradu, Dr Subotića 6, Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Fluorescence microscope with 5 fluorescence cubes, camera and software |  |  | 1 | 0 | 0
| 2497 | Microscope should consist of: - 30W source of light, - trinocular tube, - plan fluor objectives with 10x, 20x, 40x, 60x and 100x oil emersion enlargements, - 100W fluorescent light source with 5 fluorescence cubes including DAPI, spectrum green, spectrum orange, double band green/red, FITC, - microscope camera 12.8 Mpix with CCD cheap 2/3’’, suitable for all techniques of microscopy, - software for camera control, calibration, measurement, processing of images, making reports, deblurring, fluorescence images, fluorescence images overlap for fluorescent in situ hybridization (FISH), extended focus imaging, panoramic imaging, - software mode for automatic overlap of fluorescence images for FISH and fluorescence unmixing.
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details