## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 162 | Bidder: |  | TOTAL DAP PRICE OF LOT No162: |  |  | 0
Delivery address: Institut za biološka istraživanja `Siniša Stanković` u Beogradu, Bulevar despota Stefana 142, Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | System for high-resolution respirometry and mitochondrial physiology measurement |  |  | 1 | 0 | 0
| 9349 | Mitochondrial oxygen flux monitoring • Stainless steel housing • Peltier thermostat 2 to 47 °C; ±0.001 °C • 2 Duran glass chambers • 2 Polarographic oxygen sensors • 2 Amperometric oxygen channels • 2 ISE sockets for ion sensitive electrodes • 2 Sockets for optical signals or NO • 2 PVDF stirrers, electromagnetic control • Barometric pressure transducer • ISS-Integrated Suction System • Microsyringe Set: 6 10 μl, 6 25 μl, 2 50 μl • Analysis Software Titration-Injection microPump • 1 Two-channel titration-Injection microPump with electronic control, including programmable titration regimes and feedback control (oxystat, pH-stat). • 4 Microsyringe\500 mm3: 270 mm needle length, 0.09 mm inner Ø. • 1 Pkg. Needle Spacers, silicone stops (200/Pkg.) with mounting tool. 3. System for measurement of hydrogen peroxide production, ATP production, mt-membrane potential and Ca2+ • 2 Fluorescence sensors, green and blue emission with photodiode and filters • 1 Electronic Current Control for regulation of light intensity • 1 Front Fixation for fluorescence sensors to glass chamber • Analysis software
2 | Metabolic Lab Animal Monitoring Systems for in vivo and ex vivo research for 4 rats |  |  | 1 | 0 | 0
| 9353 | System for metabolic and physiological monitoring for 4 rats • Metabolic Control System for up to 4 Cages extendable (1 piece)• Open ciruit calorimeter system for 4 cages: Individual automatic flow control in each cage (1 piece)• Calorimetric Cage Rat LARGE: for Calorimetric System Professional (4 piece)• Flowmeter System for Calorimetric System for calibration (1 piece)• Universal Mounting Device with sealing cap for Calorimetric Cages (4 piece)• Calibration Kit for Calorimetric System for calibration of O2 sensors and CO2 sensors (1 piece)• DRINKING/FEEDING MONITOR Drinking Measuring Unit Advanced (4 piece)• Training Bottle for DRINKING/FEEDING MONITOR for use in an animal home cage (4 piece)• DRINKING/FEEDING MONITOR Feeding Measuring Unit Advanced (4 piece)• DRINKING/FEEDING MONITOR Adaptor Kit DFW Adaptation of 1 sensor to cage (8 piece)• DRINKING/FEEDING MONITOR Control Unit 8 channel, extendable to up to 32 channels (1 piece)• DRINKING/FEEDING MONITOR Software Licence 1 Channel (8 piece)• Mobile Rack Variable Version, for Calorimetric Cages (1 piece)• Installation / Training on-site, including all travel costs (1 piece) Automated Isolated Organ Bath 4-place Monitoring System• Basic Unit Isolated Organs (4-place): FULLY AUTOMATED SYSTEM (1piece)• Bath Vessel for fully automated system (4 piece)• Serrefine for organ mounting plate with pointed clamping jaws and lateral eyes (20 piece)• Assembling Hook for Serrefine to adapt the organ hook into the organ bath (1 piece)• Thermostat, electronically controlled (1 piece)• Reservoir for Nutrient Solution, with bottom connection (1 piece)• Waste-Solution-Bottle for Isolated Organ Bath Systems, 10 l (1 piece)• Isometric Transducer (power measurement). Range 0,1 to 20 g (4 piece)• Isotonic Transducer (odemometer). Measuring range 0,5-10 mm (4 piece)• Transducer Amplifier Monitor For isometric and isotonic measurements (4 piece)• Electronic Process Control for isolated organ equipment (1 piece)
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details
Note on F9: Insert CIF price
Note on D10: FILL all white fields, write brand, trade name, model and all relevant trade details