## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 163 | Bidder: |  | TOTAL DAP PRICE OF LOT No163: |  |  | 0
Delivery address: Fakultet tehničkih nauka u Novom Sadu, Trg D. Obradovica 6, Novi Sad, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | 10-GHz Split Cylinder Resonator |  |  | 1 | 0 | 0
| 9041 | Dielectric properties measuring equipment Key Features & Specifications • Measures the dielectric properties of materials (liquids, semi-solids and solids) in the RF and microwave frequency bands • Frequency range of 200 MHz to 50 GHz • Results can be viewed in a variety of formats: er´, er, loss tangent, and Cole-Cole • Probe combines rugged, high temperature and frequency performance • Software allows to measure the complex dielectric constant of liquids, semisolids and solids, including the dielectric loss factor or loss tangent. • Software runs on a PC, or internally on the PNA Series of network analyzer and guides user through easy calibration and measurement • Data is easily shared with other Windows-based programs or through the user programmable Component Object Model (COM) interface
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details