## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 115 | Bidder: |  | TOTAL DAP PRICE OF LOT No115: |  |  | 0
Delivery address: Medicinski fakultet u Beogradu, KBC Bezanijska kosa, Majora Branka Vukosavljevića 114, Novi Beograd, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | THE DEVICE FOR AMBULATORY BLOOD PRESSURE (ABP) MONITORING AND HEMODYNAMIC PARAMETERS DETECTION |  |  | 1 | 0 | 0
| 3999 | Characteristics:  Ability to continuously record blood pressure up to 60 hours;  Recording blood pressure in stationary conditions and while moving;  The following hemodynamic parameters must be detected: • Systolic Blood Pressure • Diastolic Blood Pressure DIA • Mean Blood Pressure • Heart rate • Inter beat interval • Cardiac output • Stroke volume • Total peripheral resistance • Total arterial compliance • Max. steepness of current upstroke • Ascending aortic impedance at DIA • Left ventricular ejection time • Hear rate - pressure product.  Simultaneous placement of two finger cuffs and adjustment of intervals for cuff interchanging (1 min-15 min-30 min-1 hour);  It must have main unit, pump unit and conector block, and it should be placed in the patient’s waist belt;  Peripherals should include a box with two cuffs, infrared plethysmograph and height correction unit;  The device should have a control unit for configuring all the components for ABP monitoring;  The device must operate using AC, and using the batteries (both fixed and rechargable);  The measurements must be observed using a remote PC and data available for further processing;
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details