## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 132 | Bidder: |  | TOTAL DAP PRICE OF LOT No132: |  |  | 0
Delivery address: Istrazivacko-razvojni institut RT-RK d.o.o., Fruskogorska 11a, 21000 Novi Sad, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Climatic Test Chambers |  |  | 1 | 0 | 0
| 8930 | Test space volume 1500 lit. or bigger Temperature range -60°C to +85°C Humidity range 10 to 98 % RH Temp.change rate up to 5°C/min (ESS option) Computer I/F Ethernet/USB/digital I/0 Control and monitoring system – yes
2 | Chamber for testing plant growth and control of seed germination240 l |  |  | 1 | 0 | 0
| 8029 | Plant growth chambers with precise active control of: temperature, relative air humidity and illumination • Working volume should be: 200-500 l • Temperature range 0 °C to 50 °C with accuracy of 1°C and incorporated active cooling system • Humidity range 10-80% with accuracy of 2-5% • Illumination range 0 to 12,000 Lux Delivery address: Poljoprivredni fakultet u Novom Sadu, Trg Dositeja Obrdovića8, 21000 Novi Sad Serbia
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details
Note on F9: Insert CIF price
Note on D10: FILL all white fields, write brand, trade name, model and all relevant trade details