## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 51 | Bidder: |  | TOTAL DAP PRICE OF LOT No51: |  |  | 0
Delivery address: Farmaceutski fakultet u Beogradu, Vojvode Stepe 450, 11221 Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Powder Rheometer |  |  | 1 | 0 | 0
| 4352 | An instrument which combines powder rheometer, shear cell and compression tester, with the capability to measure powder properties, such as dynamic flow energy, shear properties of consolidated and unconsolidated powders, bulk properties (bulk density, compressibility, permeability), wall friction angle, and process variables (moisture, attrition, segregation). A system accessories needs to include: • different sizes of testing vessels (for different samples sizes) • blades and spindle assemblies to suit these vessels • vessel accessories including bases, funnels and thermal jackets • compaction pistons including solid and vented pistons • aeration kit including aeration bases (which suit all vessel sizes) and aeration control module • different sizes of shear cell modules and shear cells including miniature shear cell for small volume of sample • a set of wall friction discs of the appropriate material having various surface finishes The device should have the ability to evaluate consolidated, conditioned and aerated/fluidised powders; therefore powder conditioning option should be available. Integrated PC and appropriate software support are required. Automated data analysis option to derive the key flowability indices is also desired
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details