## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 62 | Bidder: |  | TOTAL DAP PRICE OF LOT No62: |  |  | 0
Delivery address: Institut za kukuruz `Zemun Polje` u Beogradu, Slobodana Bajica 1, Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | NIR with calibration for maize, soybean and small grains |  |  | 1 | 0 | 0
| 3431 | spectral range: 570-1000nm ANN calibration the instrument should have possibility to be connected to users’ network the instrument should have possibility of fully transferable calibrations between all instruments without any adjustment The whole system, including the optical part, should be resistant to temperature and humidity changes The instrument can be upgraded with modules for different types of ground material Calibration software for maize (oil, protein, starch and moisture) Calibration software for wheat (protein, starch, moisture, wet gluten) Calibration software for soybean (protein, starch, moisture)
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details