## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 83 | Bidder: |  | TOTAL DAP PRICE OF LOT No83: |  |  | 0
Delivery address: Mašinski fakultet u Beogradu, Kraljice Marije 16, 11120 Belgrade 35, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Calibrator |  |  | 1 | 0 | 0
| 4636 | 1.Primary Flow Meter for High Flow5 - 500 SL/min, rated accuracy ±.25%of reading standardized*.Universal 100-240V AC power adapter/charger, software CD, PC serial cable, leak test cable, NIST-traceable calibration certificate, manual. The universal power adapter/charger fits either a U.S., U.K., European or Australian plug configuration for use in multiple countries. Select one plug; At a gas pressure of 760 mmHg, and a gas temperature of 25° centigrade with standardization temperature set to 21.1° centigrade. 2. Serial PC Card Provides a serial port for laptop computers 3. reducer used to reduce from a 1 1/2” fitting to 1” tube OD, 4. reducer used to reduce from a 1” fitting to 3/4” tube OD, 5. reducer used to reduce from a 1”fitting to 1/2” tube OD, 6. ISO calibration certificate. 7. Delivery and installation of the system, as well as test measurements on-site (location: Faculty of Mechanical Engineering University of Belgrade, Fluid Mechanics Department, Kraljice Marije 16, 11120 Belgrade, Republic of Serbia). 8. Company warranty on the whole system after the day of acceptance measurements: at least two years.
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details