## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 112 | Bidder: |  | TOTAL DAP PRICE OF LOT No112: |  |  | 0
Delivery address: Medicinski fakultet u Nišu, Gordana Kocic, Nis, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Multi-label Microplate Reader |  |  | 1 | 0 | 0
| 3571 | Multilabel Plate Reader includes Luminescence, Fluorescence Intensity (both top and bottom reading), UV-absorbance (UV-VIS), Time-Resolved Fluorescence and Fluorescence Polarization technologies. It is a detection instrument designed for running and covering all of the main nonradioactive counting technologies, compatible with all types of microtitration plates between 1 and 1536 wells, as well as Petri dishes, slides, filters and Terasaki plates. Performing the work of a fluorometer, a luminometer, a time-resolved fluorometer and a photometer (UV/VIS), it provides alternative to a whole series of mutually incompatible analytical instruments. Users can program endpoint, kinetic, multiple wavelength, linear scan and area scan measurement types. Easily accessible filter slides enable wavelength selection from 230nm to 750nm.
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details