## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 159 | Bidder: |  | TOTAL DAP PRICE OF LOT No159: |  |  | 0
0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Oscilloscope |  |  | 1 | 0 | 0
| 3784 | Type of equipment TDR/TDT and S-parameter Measurement System Functionality Accurate characterization of RF/microwave and millimeter-wave one-port and two-port devices, such as antennas, filters and couplers: • Time domain reflection and transmission measurements (TDR/TDT) • Frequency domain reflection and transmission measurements (S-parameters) Visual presentation of TDR/TDT responses in rectangular coordinate system Visual presentation of S-parameters in rectangular coordinate system, polar coordinate system and the Smith chart Saving complete measured responses in disk files, e.g. via USB flash devices Performance Maximal frequency of the frequency bandwidth over which S-parameters are measured is at least 67 GHz (sixty seven gigahertz). Nominal impedances of ports at which S-parameters are measured are 50 Ohm (fifty ohms). System dynamic range in operating frequency range is at least 70 dB (seventy decibels). Additional requirements For carrying out the specified measurements using its standard connectors the system should include all necessary hardware and/or software components and appropriate calibration kit with precision standard devices (to characterize the systematic errors of the measurements). Delivery address: Elektrotehnički fakultet u Beogradu, Bulevar kralja Aleksandra 73, 11120 Belgrade, Serbia
2 | Oscilloscope |  |  | 1 | 0 | 0
| 3828 | Oscilloscope 6 GHz • 6 GHz bandwidth. • 20 GSa/s on each of 4 channels • Standard 20 Mpts memory per channel, upgradeable to 1 Gpts • Sensitivity 1mV/div to 5V/div • Vertical resolution 8 bits, ≥ 12 bits with averaging • Main timebase range 5 ps/div to 20 s/div real-time • Interface LAN, GPIB, USB • Cross triggering option that allows easy connection with Agilent 16901A Logic Analysis system Delivery address: Fakultet tehničkih nauka u Novom Sadu, Trg D. Obradovica 6, Novi Sad, Serbia
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details
Note on F9: Insert CIF price
Note on D10: FILL all white fields, write brand, trade name, model and all relevant trade details