## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 189 | Bidder: |  | TOTAL DAP PRICE OF LOT No189: |  |  | 0
Delivery address: Fakultet tehničkih nauka u Novom Sadu, Vladimira Perića Valtera 2, Novi Sad, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Optical Sensor |  |  | 1 | 0 | 0
| 5628 | Technical description : - CRITICAL 1: Can be installed on and be compatible with CONTURA RDS system - CRITICAL 2: CNC scanner change in conjunction with probe magazine and controller software - Line width: minimum 18mm, the bigger the better - FOV depth: minimum 15mm, the bigger the better - Resolution: maximum 60 μm, the lower the better - Measuring speed: 75,000 pts/s, the higher the better - Typical probing error (MPEp)*: 20 μm, the lower the better - Multi-stylus test (MPEal)**: 20 μm, the lower the better * Comparable to EN/ISO10360-2 ** Comparable to EN/ISO10360-5, for CMM with accuracy of 2μm + L/350 or better
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details