To whom it may concern,

Referring to the clarification request you sent us on 11.02.2014 (registered with the Ordering Party under reference no. 395), regarding the public procurement: “Development of the main design of multifamily residential building and execution of construction works on the building in accordance with the prepared documentation, within the subproject of construction of housing for young researchers of the University of Kragujevac“, no. IOP/3-2013, below please find our answers:

Answer to the question under item 1:

When making a bid, treat all installations and utilities within the parcel. Conditions require all utility holes to be within the parcel. The Public Utility Company shall be in charge outside the parcel.

Answer to the question under item 2:

According to the Site Permit, the access to the site is from existing streets of Dimitrija Tucovica and Laze Marinkovica. Elevation levels of those roads are indicated in the topographic and cadastral plan as well as in the geomechanical study.

Answer to the question under item 3:

The building will not be connected to the existing transformer station since it does not have required capacity. A new transformer station is to be projected on the site, within the building or in the close proximity, but precise position and conditions of Electric Distribution Company of Kragujevac shall be provided to the designer before the development of the main design. If the solution allows so, the transformer station is to be projected within the building.

Answer to the question under item 4:

The façade is to be fully projected in accordance with the Project Terms of Reference, Site Permit and applicable regulations and laws of the Republic of Serbia.

Answer to the question under item 5:

Successful Bidder shall develop the main design in accordance with the offered conceptual designs he/she submitted. Other Bidders are entitled to their own solutions as a copyrighted work and they may be used only in accordance with the applicable laws of the Republic of Serbia (Law on Copyright and Related Rights, Official Gazette of the Republic of Serbia no. 104/2009, 99/2011 and 119/2012)

Answer to the question under item 6:

This is a power of attorney by which a legal representative, director of a company (directors of members of the group of Bidders) authorizes a specific person to be a signatory to the Bid and of the entire relevant documentation for the subject public procurement in a specific case. The power (powers) of attorney should be certified by the authorities in accordance with relevant legal regulations ruling the procedure of document certification, which is a municipal authority for resident Bidders, that is the authorities in accordance with the Law on Certification of Signatures, Manuscripts and Copies, Official Gazette of the Republic of Serbia no. 39/93. If the company director signs the Bid and the entire relevant documentation, the above mentioned power of attorney does not have to be submitted within the Bid.

In the above indicated case, consortium members entrust the signature of the Bid and the entire relevant documentation to one of the consortium members. Since the director represents that consortium member, no separate certification of the Agreement mentioned in previous paragraph is required. If consortium members want to authorize another person to sign the Bid and the entire relevant documentation, the subject Agreement needs to be certified.

Yours Faithfully,

Commission President

_____________________

Stanja Kakuca