## prvafaza
| 7.PREDMER I PREDRAČUN | 7.DRAFT AND INVOICE
za izradu RTV instalacije i zajedničkog antensog sistema za izgradnju objekta Naučno tehnološkog parka fakulteta tehničkih nauka u Novom Sadu |  | for the RTV installation and the shared antenna system for the construction of the building for the Science and Technology Park of the Faculty of Technical Sciences in Novi Sad
Svaka pozicija data u ovom predmeru i predračunu podrazumeva: nabavku, isporuku na gradište, uskladištenje, donošenje na mesto ugradnje i ugradnju elektroinstalacionog materijala i opreme navedene u poziciji. Svaka pozicija takođe podrazumeva: nabavku, isporuku i ugradnju nenavedenog sitnog materijala neophodnog za ugradnju opreme, odnošenje šuta i otpadnog materijala na deponiju, kao i otklanjanje svih tehničkih i estetskih grešaka nastalih prilikom izvođenja instalacije. Sva navedena oprema treba da je navedenog tipa i proizvođača (TELEVES) ili drugog proizvođača dokazano istih ili boljih karakteristika. |  | Every cell in this draft and invoice includes: the purchase, delivery to the building site, storage, transportation to the exact place of installation and the placement of electrical materials as well as of all other ecquipment that appears in a particular cell. Each cell also includes: the purchase, delivery and the installation of the accompanying material necessary for the installation of the ecquipment that might not have been stated, taking away the rubble and waste materials to a landfill, as well as the correction of all technical and esthetic mistakes made during the installation. All stated ecquipment should be of the stated type and producer (TELEVES) or acquired from a different producer who has proved to have the same or better quality characteristics of their products.
R. br. | Opis | Description | Jed. Mere /Unit | Kol./Quantity | Jedinična cena/Price per unit | Iznos / Amount
FAZA I |  | PHASE I
1 | PRIJEMNI ANTENSKI SISTEM | THE RECEIVER PART OF THE ANTENNA SYSTEM
1.1. | Isporuka i montaža antenskog stuba 6 m (od dva elementa 3010) (komplet sadrži stub, zaštitnu kapu ZK 45-50, krovni štit KŠ11, uvodnik kabla - uvodni lim (za uvod kablova u krov), oslonac 3045, obujmice i kapu K45-50, dve zidne hvataljke-nosači za stub 2049) | Delivery and installation of a 6m antenna tower (consisting of two 3010 components) (the set contains a tower, a protective cap ZK 45-50, a roof protection shield KŠ11, the introductory cable- the introductory tin material (for the introduction of cable into the roof), the mount 3045, tubes and a cap K45-50, two wall carriers for the tower 2049) | kpl | 1 |  | 0
1.2. | Isporuka i montaža nosača antena 2116 | Delivery and installation of antenna carriers 2116 | kom/pcs | 2 |  | 0
1.3. | Isporuka i montaža zatega za stub (komplet sa tri zatezača 2136, sajle i tri krovne kotve, stubni nosač zatege 2003/26) | Delivery and installation of the mount/base fixers (a set of three fixers 2136, cords and three roof containers, the carrier for the mount fixers 2003/26) | kpl | 1 |  | 0
1.4. | Isporuka i montaža - Antena A1064 | Delivery and installation - Antenna A1064 | kom/pcs | 0 |  | 0
1.5. | Isporuka i montaža - Antena AP1046 - PRO-75 Ch. 21-69 18dB | Delivery and installation - Antenna AP1046 - PRO-75 Ch. 21-69 18dB | kom/pcs | 3 |  | 0
1.6. | Isporuka i montaža - Antena A11201 - FM Circular 1dB | Delivery and installation - Antenna A11201 - FM Circular 1dB | kom/pcs | 1 |  | 0
1.7. | Isporuka i montaža obujmica uzemljenja | Delivery and installation of the mount/base fixers (a set of three fixers 2136, cords and three roof containers, the carrier for the mount fixers 2003/26) | kom/pcs | 1 |  | 0
1.8. | Isporuka i montaža zemljovodne FeZn trake 25x4 | Delivery and placement of the ground FeZn cable 25x4 | m | 10 |  | 0
1.9. | Isporuka i montaža ukrsni (spojni) komad za prespajanje FeZn trake | Delivery and installation of the cross (joint) piece for the connection of FeZn cables | kom/pcs | 1 |  | 0
1.10. | Isporuka i montaža antenskog bezhalogenog koaksijalnog kabela RG 6 (veza ormar ZAU-PAS) | Delivery and installation of the antenna halogen-free coaxial cable holder type ZAU-PAS) | m | 60 |  | 0
1.11. | Isporuka i montaža kablovskih konektora i spojnog pribora - PAS i ZAU | Delivery and installation of cable combiners and combining ecquipment - PAS i ZAU | pauš | 1 |  | 0
1.12. | Isporuka i montaža pretpojačavača tip 5356+PSU5495 | Delivery and installation of the pre-amplifier type 5356+PSU5495 | kom/pcs | 1 |  | 0
Ukupno 1.: |  | Total 1.: |  |  |  | 0
2. | ZAU | ZAU
2.1. | Isporuka i montaža ormata DSA-D dim 80x 80 x 40 cm RO-ZAU | Delivery and installation of the cabinet type DSA-D dim 80x 80 x 40 cm RO-ZAU | kom/pcs | 1 |  | 0
2.2. | Isporuka i montaža - TV kanalski procesor twin 5649 | Delivery and installation - a TV channal processor 5090 | kom/pcs | 2 |  | 0
2.3. | Isporuka i montaža - Uređaj za napajanje procesora i pojačavača 5629 | Delivery and installation - A power supply device for the processor and amplifier 5029 | kom/pcs | 1 |  | 0
2.4. | Isporuka i montaža - Pojačavač 5339 | Delivery and installation - Amplifier 4510 | kom/pcs | 1 |  | 0
2.5. | Isporuka i montaža - Napajanje 5021 | Delivery and installation - Power supply 5021 | kom/pcs | 0 |  | 0
2.6. | Isporuka i montaža - Filtar nepropusnik opsega 4095FM | Delivery and installation - Filter 4095FM | kom/pcs | 4 |  | 0
2.7. | Isporuka i montaža - Atenoator 5166 | Delivery and installation - Atenoator 5166 | kom/pcs | 2 |  | 0
2.8. | Isporuka i montaža - Razdelnik 4530 | Delivery and installation - Splitter 4530 | kom/pcs | 1 |  | 0
2.9. | Isporuka i montaža - Razdelnik 4531 | Delivery and installation- Splitter 4531 | kom/pcs | 1 |  | 0
2.10. | Isporuka i montaža - Razdelnik 4532 | Delivery and installation - Splitter 4532 | kom/pcs | 1 |  | 0
2.11. | Isporuka i montaža - Završni otpornik 75 ohma 4058 | Delivery and installation - Terminating resistor 75 ohms 4058 | kom/pcs | 3 |  | 0
2.12. | Isporuka i montaža - Modularno kućište za smeštaj procesora, napajanja i pojačavača 5072 | Delivery and installation - A modular holder for the processor, power supply and amplifier 5072 | kom/pcs | 1 |  | 0
2.13. | Isporuka i montaža - Uže za uzemljenje Cu fi 6mm | Delivery and placement - Uže za uzemljenje Cu fi 6mm | m | 10 |  | 0
Ukupno 2.: |  | Total 2.: |  |  |  | 0
3. | OPREMA ZA DISTRIBUCIJU SIGNALA | SIGNAL DISTRIBUTION ECQUIPMENT
3.1. | Isporuka i montaža limenog plastificiranog KDS razvodnog ormana u zid (dim. 520x430x150mm) | Delivery and installation of the tin, plastic-coated KDS distribution cabinets on the wall (dim. 520x430x150mm) | kom/pcs | 1 |  | 0
3.2. | Isporuka i montaža limenog plastificiranog KDS razvodnog ormana na zid, (dim. 300x300x200mm) | Delivery and installation of the tin, plastic-coated KDS distribution cabinet on the wall (dim. 300x300x200mm) | kom/pcs | 15 |  | 0
3.3. | Isporuka i montaža - Pojačavač 5339 | Delivery and installation - Amplifier 4510 | kom/pcs | 5 |  | 0
3.4. | Isporuka i montaža - Razdelnik 4534 | Delivery and installation - Splitter 4534 | kom/pcs | 15 |  | 0
3.5. | Isporuka i montaža - Razdelnik 4533 | Delivery and installation- Splitter 4533 | kom/pcs | 28 |  | 0
3.6. | Isporuka i montaža - Razdelnik 4532 | Delivery and installation - Splitter 4532 | kom/pcs | 5 |  | 0
3.7. | Isporuka i montaža - Završni otpornik 75 ohma 4058 | Delivery and installation - Terminating resistor 75 ohms 4058 | kom/pcs | 46 |  | 0
3.8. | Isporuka i montaža RTV utičnice -zidne 5267 | Delivery and installation of RTV wall socket 5267 | kom/pcs | 168 |  | 0
3.9. | Isporuka, montaža i povezivanje - Kabl malodimni bezhalogeni RG-6 | Delivery, installation and linking - Low smoke, halogen-free cable RG-6 | m | 6720 |  | 0
3.10. | Isporuka, montaža i povezivanje - Kabl malodimni bezhalogeni RG-11 | Delivery, installation and linking -Low smoke, halogen-free cable RG-11 | m | 1367 |  | 0
3.11. | Isporuka,montaža i povezivanje - Kabl malodimni bezhalogeni N2XH-J 1x6 (za povezivanje RTV ormarića i nosača kablova na sabirnice za izjednačenje potencijala) | Delivery, installation and linking - Low smoke, halogen-free cable N2XH-J 1x6 (for linking the RTV cabinet and the cable carriers with the potential equalizing junction boxes) | m | 660 |  | 0
3.12. | Isporuka i montaža - Konektori i spojni pribor | Delivery and installation - Connectors and connection ecquipment | kpl | 1 |  | 0
Ukupno 3.: |  | Total 3.: |  |  |  | 0
4. | INSTALACIONI MATERIJAL | INSTALLATION MATERIAL
4.1. | Isporuka i montaža - bezhalog.inst. cevi f 16mm | Delivery and installation - halogen-free pipes f 16mm | m | 6930 |  | 0
4.2. | Isporuka i montaža - bezhalog.inst. cevi f23mm | Delivery and installation -halogen-free inst. pipes f23mm | m | 130 |  | 0
4.3. | Isporuka i montaža - bezhalog.inst. cevi f29mm | Delivery and installation - halogen-free inst. pipes f29mm | m | 130 |  | 0
4.4. | Isporuka i montaža - bezhalog.inst. cevi f36mm | Delivery and installation - halogen-free inst. pipes f36mm | m | 100 |  | 0
4.5. | Isporuka i montaža - bezhalog.inst. cevi f50mm | Delivery and installation - halogen-free inst pipes f50mm | m | 20 |  | 0
4.6. | Isporuka i montaža - Dozna fi 60 | Delivery and installation - Dose fi 60 | kom/pcs | 178 |  | 0
4.7. | Isporuka i montaža - Dozna fi 78 | Delivery and installation - Dose fi 78 | kom/pcs | 231 |  | 0
4.8. | Isporuka i montaža - Kutija 100x100 | Delivery and installation - Box 100x100 | kom/pcs | 63 |  | 0
4.9. | Isporuka i montaža u duplom podu- PNK 50 sa poklopcem sa opremom za skretanje i račvanje. | Delivery and installation in a double floor- PNK 50 with a lid and the turning and branching ecquipment. | m | 840 |  | 0
4.10. | Isporuka i montaža vešanjem o plafon- PNK 50 sa poklopcem, sa opremom za skretanje i račvanje i ovesnim priborom. | Delivery and installation by hanging from the ceiling - PNK 50 with a lid and the turning and branching ecquipment and the accompanying tools | m | 350 |  | 0
Ukupno 4.: |  | Total 4.: |  |  |  | 0
5. | ZAVRŠNI RADOVI | FINAL WORK
5.1. | Atestiranje RTV instalacije sa puštanjem u rad | Attestation of the RTV installation and starting the operation | kpl | 1 |  | 0
5.2. | Isporučiti i izvršiti zaštitu montažom vatrootpornog prodora vatrootpornosti 90min (S90), slično tipu Pyrosit FBS90 vatrootporna pena, proizvodnje OBO Bettermann.(radi sprečavanja širenja i prenošenja požara preko elektro instalacije, na mestima prolaza kablova kroz protivpožarne zidove i na prodorima kroz tavanice (na granicama protivpožarnih zona) | Delivery and protection by installing a fireproof layer keeping the flame away for 90min (S90), similar to the type Pyrosit FBS90 fireproof foam, the production of OBO Bettermann (to prevent the spreading of fire through the electrical installation, where the cables go through the fireproof walls and at the joint between the attic space and the roof (at the fireproof zone boundaries). | m2 | 0.6 |  | 0
Ukupno 5.: |  | Total 5.: |  |  |  | 0
REKAPITULACIJA |  | SUMMARY
FAZA I |  | PHASE I
1. | PRIJEMNI ANTENSKI SISTEM | RECEIVER ANTENNA SYSTEM |  |  |  | 0
2. | ZAU | ZAU |  |  |  | 0
3. | OPREMA ZA DISTRIBUCIJU SIGNALA | SIGNAL DISTRIBUTION ECQUIPMENT |  |  |  | 0
4. | INSTALACIONI MATERIJAL | INSTALLATION MATERIAL |  |  |  | 0
5. | ZAVRŠNI RADOVI | FINAL WORK |  |  |  | 0
FAZA I UKUPNO(dinara): |  | PHASE II |  |  |  | 0