## Sheet10
Rb | Id narudžbine | Katalog | Kataloški broj | Opis dobra | Količina | Jedinična cena | Ukupna cena | Naziv institucije - mesto isporuke | Adresa - mesto isporuke | Primalac isporuke | Email
1 | 201270 | Bruel and Kjaer | #4448-A-105 | Dozimetri buke Brul Kjaer tip 4448-A sa osnovnim priborom-komplet od 5 komada, Noise dose meter (8 units) according to standard: IEC 61252:2002 Measurements according to: ISO and OSHA Frequency weighting: Leq and RMS Detector: A Peak Detector: A, C | 1 |  | 0 | Медицински факултет у Београду | Др Суботића 8 11000 Београд | Горан Белојевић | gogibel@eunet.rs
2 | 201271 | Bruel and Kjaer | #4448-A-103 | Dozimetri buke Brul Kjaer tip 4448-A sa osnovnim priborom, komplet od 3 komada, Noise dose meter (8 units) according to standard: IEC 61252:2002 Measurements according to: ISO and OSHA Frequency weighting: Leq and RMS Detector: A Peak Detector: A, C | 1 |  | 0 | Медицински факултет у Београду | Др Суботића 8 11000 Београд | Горан Белојевић | gogibel@eunet.rs
3 | 201272 | Bruel and Kjaer | #7825 | PC softver za izračunavanje izloženosti buci, Protector (A PC software package for the assessment and simulation of noise exposure in work environments. Calculations are based on measurement data from Brüel & Kjær sound level meters and noise dos | 1 |  | 0 | Медицински факултет у Београду | Др Суботића 8 11000 Београд | Горан Белојевић | gogibel@eunet.rs
4 | 234627 | Bruel and Kjaer | #1 | Brüel&Kjaer Mini-shaker Type 4810: Mini-shaker Type 4810 is of the electrodynamic type with a permanent field magnet. It is well-suited as the force generator in general vibration tests, mechanical impedance and mobility measurements, and experiment | 1 |  | 0 | Факултет техничких наука у Новом Саду | Трг Доситеја Обрадовића 6 21000 Нови Сад | Љиљана Живанов | lilaziv@uns.ac.rs
5 | 234632 | Bruel and Kjaer | #2 | Brüel&Kjaer Power Amplifier Type 2718: Power amplifier Type 2718 has been designed to drive small vibration exciters. For this application, the maximum output current should be limited to 1.8 A. The power amplifier has a flat frequency response from | 1 |  | 0 | Факултет техничких наука у Новом Саду | Трг Доситеја Обрадовића 6 21000 Нови Сад | Љиљана Живанов | lilaziv@uns.ac.rs
Note on B5: -Naknadno dodato.
Note on B6: -Naknadno dodato.