## Sheet1
No | Id | Catalogue | Catalogue number | Description of the goods | Quantitiy | Unit price | Total price | Name of the Institution - the place of delivery | Address | Person recieving delivery | Email
1 | 164996 | Area-Velocity Flow Meter | #F.10034.24 | AVFM 5.0 Area-Velocity Flow Meter.STANDARD FEATURES:QZ02L sensor,sensor cable,enclosure,displays,calibration,electrical surge protection and RFI filters,2 control relays-5 amp,SPDT,outputs â€“ three isolated 4-20mA/0-5V,Flow,Level and Velocity (EUR) | 1 |  | 0 | Рударско-геолошки факултет у Београду | Ђушина 7 11000 Београд | Зоран Стевановић | zstev_2000@yahoo.co.uk