## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 40 | Bidder: |  | TOTAL DAP PRICE OF LOT No40: |  |  | 0
Delivery address: Tehnološko-metalurški fakultet u Beogradu, Karnegijeva 4, 11000 Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Quadrupole mass spectrometer |  |  | 1 | 0 | 0
| 1379 | Quadrupole mass spectrometer which is specially designed for being coupled with thermobalances, i.e. with SDT Q600 (TA Instruments). The spectrometer specifications are as follows: – Mass range 1-300 amu – Resolution, settable at 10 % peak height, 0,5 – 2,5 amu – Heated capillary inlet, up to 350 °C – Software for control experimental parameters and analysis o
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details