## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 103 | Bidder: |  | TOTAL DAP PRICE OF LOT No103: |  |  | 0
Delivery address: Institut za biološka istraživanja `Siniša Stanković` u Beogradu, Bulevar despota Stefana 142, Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | LI-6400XTF Portable Photosynthesis System |  |  | 1 | 0 | 0
| 1732 | Analyzer automatically and simultaneously measure photosynthesis and fluorescence. Specifications CO2 Analyzer Range: 0-3000 µmol mol-1. Accuracy: Maximum deviation: ± 5 -10 µmol mol-1 H2O Analyzer Range: 0-75 mmol mol-1 Accuracy: Maximum deviation: ± 1.0 mmol mol -1 Temperature Operating Temperature Range: 0 - 50 °C Range: -10 to 50 °C. Output RS232 Stored/current data output: standard ASCII format Light Measurement PAR Sensor Response: 400-700 nm Range: 0 - 3000 µmol mol-1 Light Source LED light unit Control Range: 0 - 2000 µmol m-2 s-1 Chlorophyll Fluorescence Measuring (Modulated) Light: Red LEDs, 630 nm (627 nm) Actinic Light: Blue (white) and Red LEDs, 0 - 3000 µmol m-2 s-1 Saturation Light: Red LED and blue (white) LEDs, 0 - 7000 µmol m-2 s -1 Far-Red Light: Far-Red LED, 740 nm (735 nm) Leaf Area: 2.0 cm2 or higher Operating Temperature Range: 0 - 50 °C Leaf chambers (Cuvettes) Broad leaf chamber Narrow needles chamber Power supply Rechargeable batteries with battery charger Operational time At least 6 hour battery operations
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details