## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 118 | Bidder: |  | TOTAL DAP PRICE OF LOT No118: |  |  | 0
Delivery address: Medicinski fakultet u Beogradu, Visegradska 26, 11 000 Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Coronary Intravascular Ultrasound Catehters (IVUS) |  |  | 1 | 0 | 0
| 5632 | 40 MHz catheter provides excellent image resolution and clarity Transducer housing and drive shaft designed for uniform imaging core rotation Large imaging window clearance intended to decrease friction in tortuous anatomy Bioslide® Hydrophilic Coating provides a 28% improvement in pushability in challenging anatomy Tip designed to provide excellent kink resistance 6F guide catheter compatibility (≥.064") Tapered tip with .022" entry profile Unique Coating When in the presence of water of body fluids, the hydrophilic polymer coating absorbs water molecules to create a rapidly-formed interface at the surface of the device. This coating makes the catheter very slick and thus reduces the catheter push force. Device Highlights 1. ≤.014" guide wire compatible 2. 15cm imaging core pullback 3. 23cm Bioslide Hydrophilic Coating 4. 2.1cm marker band to transducer 5. 2.5F marker band 6. 0.22" entry profile 7. 1.5cm guide wire rail length 8. 3.2F imaging window profile 9. 135cm usable length
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details