## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 122 | Bidder: |  | TOTAL DAP PRICE OF LOT No122: |  |  | 0
0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | 3D Scanner |  |  | 1 | 0 | 0
| 135 | Description of Equipment Technical Specifications Portable, handheld 3D scanner which in real-time with the help of high-speed CCD cameras track points and use proprietary triangulation to determine part orientationa and its color, together with PC and appropriate software for working/editing with captured data and also include the delivery, installation and training. 3D Scanner • Sampling Speed: 18000 measurements per second • Laser: Class II (eye safe) • Number of Cameras: 3 • Accuracy in XY axis: Up to 50 microns • Resolution in Z axis: 0,1 mm • ISO: 20 µm + 0.2 L / 1000 • Texture Resolution: 50 to 250 DPI (user-configurable) • Texture Color: 24 bits, sRGB-calibrated • Optimal distance from the object: 30 cm • Exported File Formats: .DAE, .FBX, .MA, .OBJ, .PLY, .STL, .TXT, .WRL, .X3D, .X3DZ, .ZPR • Data Transfer: FireWire • Power Source: FireWire Delivery address: Mašinski fakultet u Nišu, 18000 Niš, Aleksandra Medvedeva 14, Serbia
2 | 3D Scanner |  |  | 1 | 0 | 0
| 4590 | Description Portable, handheld 3D scanner which in real-time with the help of high-speed CCD cameras track points and use proprietary triangulation to determine part orientation, together with PC and appropriate software for working/editing with captured data and also include the delivery, installation and training. Technical specification  Sampling Speed: 18000 measurements per second  Laser: Class II (eye safe)  Number of Cameras: 2  Accuracy in XY axis: Up to 50 microns  Resolution in Z axis: 0,1 mm  ISO: 20 µm + 0.2 L / 1000  Optimal distance from the object: 30 cm  Exported File Formats: .DAE, .FBX, .MA, .OBJ, .PLY, .STL, .TXT, .WRL, .X3D, .X3DZ, .ZPR  Data Transfer: FireWire  Power Source: FireWire Delivery address: Tehnički fakultet u Čačaku, Svetog Save 65, 32000 Cacak, Serbia
3 | Handheld, portable, self-oriented 3D scanner with supporting software Geomagic Studio & Qualify 12 Bundle |  |  | 1 | 0 | 0
| 8894 | Technical Specifications (minimum requirements) Portable, handheld 3D scanner which in real-time with the help of high-speed CCD cameras track points and use proprietary triangulation to determine part orientation and its color, together with PC and appropriate software for working/editing with captured data and also include the delivery, installation and training.3D Scanner - Sampling Speed: 18000 measurements per second - Laser: Class II (eye safe) - Number of Cameras: 3 - Accuracy in XY axis: Up to 50 microns - Resolution in Z axis: 0,1 mm - ISO: 20 µm + 0.2 L / 1000 - Texture Resolution: 50 to 250 DPI (user-configurable) - Texture Color: 24 bits, sRGB-calibrated - Optimal distance from the object: 30 cm - Exported File Formats: .DAE, .FBX, .MA, .OBJ, .PLY, .STL, .TXT, .WRL, .X3D, .X3DZ, .ZPR - Data Transfer: FireWire - Power Source: FireWire Software for working/editing with captured data - Capturing 3D data - Processing of polygon surfaces - Creating polygon based NURBS surfaces - Analysis of differences between scan data and CAD data or scan data with scan data Notebook computer system - Windows Vista Business or Enterprise 64 bit or Windows XP Professional 64 bit or Windows 7 64 bit - Core 2 Duo processor - 8GB RAM - Dedicated graphics adapter with minimum 256MB memory - ExpressCard Bus slot for ExpressCard Firewire adapter Delivery address: Matematički institut SANU u Beogradu, Kneza Mihaila 36, Belgrade, Serbia
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details
Note on F9: Insert CIF price
Note on D10: FILL all white fields, write brand, trade name, model and all relevant trade details
Note on F11: Insert CIF price
Note on D12: FILL all white fields, write brand, trade name, model and all relevant trade details