## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 146 | Bidder: |  | TOTAL DAP PRICE OF LOT No146: |  |  | 0
Delivery address: Elektrotehnički fakultet u Beogradu, Bulevar kralja Aleksandra 73, Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Universal High Current Impulse test system |  |  | 1 | 0 | 0
| 294 | A. Impulse current shunt for lightning and switching current measurements for rated currents 100 kA and 5 kA) Technical specification: 1. Impulse current shunt for 100 kA • Rated impulse current Im=100 kA • Impulse current shapes 1/20 s, 4/10 s, 8/20 s • Rated resistance R<10 m • Action Integral I2t greater than 200000 A2s • Rise time Tt<300 ns 2. Impulse current shunt for 5 kA • (Rated impulse current) Im=5 kA • Impulse current shapes 1/20 s, 4/10 s, 8/20 s 1/20 s, 4/10 s, 8/20 s • Rated resistance R<0.1 • Action Integral I2t greater than 600 A2s • Rise time Tt<300 ns B. Voltage divider for 200 kV Technical specification: • High voltage divider for lightning and switching impulse voltages • Rated lightning impulse voltage 200 kV • Rated switching impulse voltage 200 kV C. High Voltage Probes 20 kV: Technical specification: • Maximum impulse voltage 20 kV • Maximum frequency 50 MHz • Minimum ratio 1000:1
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details