## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 154 | Bidder: |  | TOTAL DAP PRICE OF LOT No154: |  |  | 0
Delivery address: Medicinski fakultet u Nišu, 18000 Niš; Bul. dr Zorana Đinđića 81, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Apotome (for upgrade of current AXIOOBSERVER) |  |  | 1 | 0 | 0
| 139 | Description of Equipment Technical Specifications System for optical sectioning on existing microscope AxioObserver Z1 which enable: • New image quality and elevated contrast in the conventional fluorescence microscope. • Deblurred optical sections in thicker samples. 1. System for optical sectioning integrated in stand and in the software for microscope camera and image analysis; 2. Minimum 3 grids (for low, medium and high magnification) which can be activated automatically by software depending of objective or by the user requirement; 3. Digital microscope monochromatic camera with Dynamic range min: 1:2200; 4. Anti vibration plate; 5. Objective: magnification 20x/0.5 and magnification 63x/1,40 Oil DIC; 6. DIC contrast for these objectives; 7. PlasDIC contrast equipment for existing objectives; 8. LD condenser with N.A. minimum 0.35 and with free working distance of minimum 70mm;
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details