## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 165 | Bidder: |  | TOTAL DAP PRICE OF LOT No165: |  |  | 0
0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | RTCA SP Instrument (RTCA SP Station, RTCA Analyzer, RTCA Control Unit) |  |  | 1 | 0 | 0
| 128 | System based on impendence monitoring for analysis of cell cultures. 1. The system must be able to perform the following experiments: • Quality control of cells • Drug-mediated cytotoxicity/Apoptosis • Receptor-mediated signaling • Cell-mediated cytotoxicity • Cell adhesion and spreading • Virus-mediated cytopathogeneity 2. Number of microwell plate positions on the system: 1 3. Number of wells per microwell plate: 96 4. Volume of each well: 243 μl ± 5 μl 5. Well bottom diameter: 5.0 mm ± 0.05 mm 6. Microwell plate material: biocompatible surface, UV irradiated 7. Maximum experiment duration: at least 2 weeks 8. Control unit: computer with all the necessary software for controlling the system and data analysis. 9. Measuring principle: impendence monitoring 10. Reaction vessel: microwell plates with integrated impedance sensors 11. Sensor material: gold 12. Impedance Measurement Accuracy: ± (1.5% + 1 Ω) or better 13. Impedance Measurement Repeatability: 0.8% or better 14. Impedance Dynamic Range: at least 10 Ω to 5 kΩ Delivery address: Institut za biološka istraživanja `Siniša Stanković` u Beogradu, Bulevar Despota Stefana 142, Belgrade, Serbia
2 | Real time cell analyzer |  |  | 1 | 0 | 0
| 138 | Description of Equipment Technical Specifications Real time cell analyzer – RTCA. System based on impendence monitoring for analysis of cell cultures 1. Measuring principle: impendence monitoring 2. Reaction vessel: microwell plates with integrated impedance sensors 3. Sensor material: gold 4. Impedance Measurement Accuracy: ± (1.5% + 1 Ω) or better 5. Impedance Measurement Repeatability:1% or better 6. Impedance Dynamic Range: at least 10 Ω to 5 kΩ 7. The system must be able to perform the following experiments: • Quality control of cells • Drug-mediated cytotoxicity/Apoptosis • Receptor-mediated signaling • Cell-mediated cytotoxicity • Cell adhesion and spreading • Virus-mediated cytopathogeneity • Cell invasion and migration monitoring 8. Minimum number of independent experiments that can be performed simultaneously by the system: 3 9. Microwell plate material: Biocompatible surface, UV or gamma-ray irradiated 10. Maximum experiment duration: at least 2 weeks 11. Control unit: computer with all the necessary software for controlling the system and data analysis. Delivery address: Medicinski fakultet u Nišu, Bulevar Despota Stefana 142, 18000 Niš; Bul. dr Zorana Đinđića 81, Serbia
3 | Real time cell analyzer |  |  | 1 | 0 | 0
| 2124 | System based on impendence monitoring for analysis of cell cultures. 1. Measuring principle: impendence monitoring 2. Reaction vessel: microwell plates with integrated impedance sensors 3. Sensor material: gold 4. Impedance Measurement Accuracy: ± (1.5% + 1 Ω) or better 5. Impedance Measurement Repeatability: 0.8% or better 6. Impedance Dynamic Range: at least 10 Ω to 5 kΩ 7. The system must be able to perform the following experiments: • Quality control of cells • Drug-mediated cytotoxicity/Apoptosis • Receptor-mediated signaling • Cell-mediated cytotoxicity • Cell adhesion and spreading • Virus-mediated cytopathogeneity • Cell invasion and migration monitoring 8. Minimum number of independent experiments that can be performed simultaneously by the system: 3 9. Minimum number of wells available on the system: 3 plates, with 16 wells per plate. 10. Microwell plate material: Biocompatible surface, UV or gamma-ray irradiated 11. Maximum experiment duration: at least 2 weeks 12. Control unit: computer with all the necessary software for controlling the system and data analysis. Delivery address: `BIOIRC` d.o.o. Kragujevac, Prvoslava Stojanovića 6, 34000 Kragujevac, Serbia
4 | Real time cell analyzer |  |  | 1 | 0 | 0
| 2456 | System based on impendence monitoring for analysis of cell cultures. 1. Measuring principle: impendence monitoring 2. Reaction vessel: microwell plates with integrated impedance sensors 3. Sensor material: gold 4. Impedance Measurement Accuracy: ± (1.5% + 1 Ω) or better 5. Impedance Measurement Repeatability: 0.8% or better 6. Impedance Dynamic Range: at least 10 Ω to 5 kΩ 7. The system must be able to perform the following experiments: • Quality control of cells • Drug-mediated cytotoxicity/Apoptosis • Receptor-mediated signaling • Cell-mediated cytotoxicity • Cell adhesion and spreading • Virus-mediated cytopathogeneity • Cell invasion and migration monitoring 8. Minimum number of independent experiments that can be performed simultaneously by the system: 3 9. Minimum number of wells available on the system: 3 plates, with 16 wells per plate. 10. Microwell plate material: Biocompatible surface, UV or gamma-ray irradiated 11. Maximum experiment duration: at least 2 weeks 12. Control unit: computer with all the necessary software for controlling the system and data analysis. Delivery address: Medicinski fakultet u Kragujevacu, 69 Svetozara Markovica, Kragujevac, Serbia
5 | Real time cell analyzer |  |  | 1 | 0 | 0
| 8651 | System based on impendence monitoring for analysis of cell cultures. 1. Measuring principle: impendence monitoring 2. Reaction vessel: microwell plates with integrated impedance sensors 3. Sensor material: gold 4. Impedance Measurement Accuracy: ± (1.5% + 1 Ω) or better 5. Impedance Measurement Repeatability: 0.8% or better 6. Impedance Dynamic Range: at least 10 Ω to 5 kΩ 7. The system must be able to perform the following experiments: • Quality control of cells • Drug-mediated cytotoxicity/Apoptosis • Receptor-mediated signaling • Cell-mediated cytotoxicity • Cell adhesion and spreading • Virus-mediated cytopathogeneity • Cell invasion and migration monitoring 8. Minimum number of independent experiments that can be performed simultaneously by the system: 3 9. Minimum number of wells available on the system: 3 plates, with 16 wells per plate. 10. Microwell plate material: Biocompatible surface, UV or gamma-ray irradiated 11. Maximum experiment duration: at least 2 weeks 12. Control unit: computer with all the necessary software for controlling the system and data analysis. Delivery address: Prirodnomatematički fakultet u Kragujevacu, Radoja Domanovica 12, Kragujevac, Serbia
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details
Note on F9: Insert CIF price
Note on D10: FILL all white fields, write brand, trade name, model and all relevant trade details
Note on F11: Insert CIF price
Note on D12: FILL all white fields, write brand, trade name, model and all relevant trade details
Note on F13: Insert CIF price
Note on D14: FILL all white fields, write brand, trade name, model and all relevant trade details
Note on F15: Insert CIF price
Note on D16: FILL all white fields, write brand, trade name, model and all relevant trade details