## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 167 | Bidder: |  | TOTAL DAP PRICE OF LOT No167: |  |  | 0
Delivery address: Mašinski fakultet u Kragujevacu, Sestre Janjić 6, Kragujevac, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | sound and vibration measuring system |  |  | 1 | 0 | 0
| 8463 | measuring equipment for Sound and Vibration measurements, analysis and reporting, Suitable for Order analysis, Time-Frequency, Impact testing, Sound Intensity, Acoustic Holography and Modal Analysis split into following items: - Multi channels real time analyzer - Front-end managing 12 channels, 24 bits, DC to 20 kHz, AC/DC/ICP instrumented inputs, 2 output signal generators, headphones and digital audio outputs, Ethernet computer communication protocol, 100GB hard disk internal HD, Batteries operated, 4X USB - Recorder - Analyzer - Post-Processing, Simultaneous signal recording and real-time multiprocessing and monitoring, Average 1/n octave, 1/n octave vs. time, Average FFT, FFT vs. Time, FRF calculation on spectra and signals, Color spectrogram and Waterfall, Tacho signal acquisition, Signal edition, Import of wav files, Teac/Sony files, MatLab communication, Sound Quality metrics and Criteria - Accelerometers, Dynamic range ±50g, frequency range, 0 to 15 kHz, cable included, 12 pieces - Free filed prepolarized condenser Microphone 1/2", 1/2" Coaxial Preamplifier, Cable 3m, Frequency range to 20kHz, High sensitivity measurements, Dynamic range to 140 dB, Temperature range -20°C to +150°C, 2 pieces - General purpose Modal Analysis impact hammer. 8 kHz, frequency range, 0 to 2000N, 1 piece - Sound Intensity Calibrator with adapter ring for 1/2" microphone, 1 piece - Load independent vibration level calibrator, object weight up to 500 g, built-in accumulator for mobile use, 1 piece
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details