## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 23 | Bidder: |  | TOTAL DAP PRICE OF LOT No23: |  |  | 0
Delivery address: Institut za fiziku u Beogradu, Pregrevica 118, 11080 Beograd, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | High Sensitivity and PTR-SRI-MS Upgrade |  |  | 1 | 0 | 0
| 109 | High Sensitivity PTR-SRI-MS ugrade Name Technical specifications Additional pumping stage Turbo-molecular pump Pfeiffer Turbomolecular Drag Pump THM/TMU 2 Flow Controlers FC – Hub, FC - O2 and Air, Bronkhorst High-Tech instruments Proportional valve 2 SRI gas inlet connectors O2 and Air cylinder Swagelock conectors, max 0.3 bar Charcoal filter Software PTR-SRI-MS Control
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details