## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 176 | Bidder: |  | TOTAL DAP PRICE OF LOT No176: |  |  | 0
Delivery address: Institut za nuklearne nauke `Vinča`, Mike Petrovica Alasa 12-14, P.O.Box 522, Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Infinium modular system for microchip analysis of DNA/RNA |  |  | 1 | 0 | 0
| 1873 | Infinium Water Circulator and Te-Flow Rack kit 220v Water circulation and Te-flow rack kit for Tecan Evo 150, Including water re-circulator, Te-flow rack, Tube fitting, silicone braid tubing, connectors, usb serial cable, Instalation and 1 year standard parts warranty Hybex Microarray Incubator: Hybex incubator heating base with removable block for 96 well PCR plates and a waterbath insert for heating wash buffers 230V AC, 50/60Hz, 1.6A Temperature range: ambient +5.0°C to 99.0°C Temperature regulation: ± 0.1°C from set point Centriguge, cooling model (with flying rotor and adapter for plates) speed from 3000 up to 17000 rev/min working temperature: 10-40 ºC Flying rotor for tubes (15-30ml) and for plates CE mark
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details