## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 28 | Bidder: |  | TOTAL DAP PRICE OF LOT No28: |  |  | 0
Delivery address: Institut za nuklearne nauke `Vinča`, Mike Petrovica Alasa 12-14, 11000 Beograd, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Device for magnetic hyperthermia experiments DM |  |  | 1 | 0 | 0
| 775 | For in vitro and in vivo investigations of Specific Absorption Rate (SAR) of ferrofluids. Applicator (the module in which the sample is allocated) for SAR measurement designated for thermally isolated experiments on ferrofluids. It should have a minimum field intensity of cc 200 Gauss and operate with different frequencies in the range of cc 100 to 800 kHz. Thermally isolated sample holder for in vitro experiments would be an advantage. Applicator designed to work with animals (in vivo experiments). It should contain a holder for mouse or rat, and one temperature probe (two probes will be advantage). The applicator should be configured to work with a set of different frequencies. Intensity of magnetic field has to be 300 Gauss or more. User friendly system controller (computer-based control of the process, including the fitting and analysis software).
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details