## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 29 | Bidder: |  | TOTAL DAP PRICE OF LOT No29: |  |  | 0
Delivery address: Institut za nuklearne nauke `Vinča`, Mike Petrovica Alasa 12-14, 11000 Beograd, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Gamma counter |  |  | 1 | 0 | 0
| 776 | High efficiency: That's enabling only with NaI (Tl) crystal well-type detector (4). Broad energy range (up to 2,000 keV) which allows studies of various nuclides (not dedicated only for RIA investigations and 125I-labelled compounds) Efficient lead shielding to eliminate crosstalk from samples on the conveyer, particularly important for our samples labeled with high energy gamma emitters as well as low activity samples and environmental samples. To enable various studies not dedicated for RIA and IRMA biochemical investigations but for more sophisticated research applications with sample capacity of different tubes/vial diameters (from13 mm to 30 mm). Capability to count vials or tubes of any shape up to 20 mL in volume and up to 28 mm in diameter. Provided sample rack for vials of different diameters To enable data analyses with some of the Windows based software.
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details