## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 38 | Bidder: |  | TOTAL DAP PRICE OF LOT No6: |  |  | #REF!
Delivery address: Tehnološko-metalurški fakultet u Beogradu, Karnegijeva 4, Serbia |  |  |  | #REF!
|  |  | Total EXW price |  | #REF! | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Initiator EXP Microwave Reactor |  |  | 1 | 0 | 0
| 1358 | Heating Process Temperature 40–250 °C Temperature increase 2–5 °C/sec Pressure range 0–20 bar (2 MPa, 290 psi) Microwave power range 0–400 W at 2.45 GHz Agitation Variable magnetic stirrer (300-900 RPM) Vial volume range 0.2–20 mL (EXP) 0.5-5 mL System Requirements Electrical supply 220–240 V, 50 Hz Pressurized air supply (reaction cooling) >60 L/min, 2–4 bar (2.1 cubic feet/min, 30-60 psi) Interfaces Touch screen Archiving/Backup and Printing Via the LAN, USB memory stick or direct connection with printer Safety Safe operation at elevated temperatures and pressures
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details