## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 71 | Bidder: |  | TOTAL DAP PRICE OF LOT No71: |  |  | 0
Delivery address: Institut za nuklearne nauke `Vinča`, P.O. Box 522 11 001 Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | PCT Isotherm ANALYZER |  |  | 1 | 0 | 0
| 1104 | Automated system for: - Obtaining PCT (Pressure-Composition-Temperature) relation for hydrogen sorption in solid samples - isobaric kinetics measurements of hydrogen absorption/desorption Characteristics: - Vacuum pump, pressure gauges and transducers insuring minimal pressure range: 1mbar – 40 bar (with 0.2% precision or higher) - Thermo unit, calibrated; Minimal temperature range: 20 - 400oC (min. accuracy 0.5oC) - Flow meter - Stainless steel gas handling system (including sample reactor) with calibrated volumes - Automatic Pressure-Temperature cycling - Appropriate software and equipment for control of processes and data acquisition
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details