## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 77 | Bidder: |  | TOTAL DAP PRICE OF LOT No77: |  |  | 0
Delivery address: Mašinski fakultet u Kragujevacu, Sestre Janjic 6, 34000, Kragujevac, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Surface Texture Measuring System |  |  | 1 | 0 | 0
| 4486 | Profilometer is a measuring instrument used to measure a surface's profile, in order to quantify its roughness. A typical profilometer is equipped with the software for 2D and 3D data analysis and surface mapping. It can be as a contact or non-contact system of roughness characterization. Technical data: • Measuring type: contact or non-contact • Measuring range: Ra: 0.01 – 2 000 µm • Traverse length: up to 120mm • Vertical Resolution (Z): up to 20 nm Measurement: • Roughness parameters • Waviness parameters • 2D and 3D Profile data analysis software • PC included
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details