## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 93 | Bidder: |  | TOTAL DAP PRICE OF LOT No93: |  |  | 0
Delivery address: Institut za molekularnu genetiku i genetičko inženjerstvo u Beogradu, Vojvode Stepe 444a, Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Processor of Biological Wastes |  |  | 1 | 0 | 0
| 29 | Processor of Biological Wastes needs to be: An apparatus for destruction of medical waste, by the method of steam sterilization with mechanical degradation of waste. The device should meet the minimum technical requirements: Volume entrance points - 80 liters A receiving basket should have a mill for the waste with the possibility of chemical disinfection. The total usable volume of the sterilization chamber should be about 40 liters The possibility of chemical disinfection. Integrated special pump with stirrer and tank for storage of bactericides After completion of the sterilization process, the device must separate solid and liquid phase wastes. Working pressure up to 6 bar Operating temperature up to 160oC The device must be compliant with EU standards for the sterilization of waste and to have an opinion on performance issued by the competent institutions in Serbia.
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details