## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 98 | Bidder: |  | TOTAL DAP PRICE OF LOT No98: |  |  | 0
Delivery address: Institut za medicinska istraživanja u Beogradu, Dr. Subotića 4, 11000 Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | System for Telemetry |  |  | 1 | 0 | 0
| 859 | Component Description Pieces Pressure telemeters Six pressure telemeters (implantable transmitters for systolic, diastolic and mean blood pressure and heart rate measurements), a small implantable transmitter, that senses, processes and transmits information via telemetry from within an small animal (rats, min. body mass 175 g), must be designed for monitoring and collecting data from conscious, freely moving rats and must be available in suitable size for rats from 175 up to 350 g b. m. 6 Starter pack Starter pack must include: tissue adhesive, training modul, radio, magnet, minimum 2 x catheter introducers, minimum 2 x needle hypo 21 gauge, cellulose patch 5x5cm, implant manual, suture kit 2-0 silk. 1 Receivers Suitable for Plastic Cages 265x180x420mm WxHxD, with minimum 4.5 meter cable for each receiver. 6 Data exchange matrix Data exchange matrix, one recorder for independent measurement of ambient pressure, all units must be supplied with cables. 1 Software Data acquisition and analysis system with ability to monitor min. 6 implantable transmitters simultaneously and Hardware (Computer (windows XP or higher) and Monitor 19") supplied with appropriate cables 1 Additional requests: • Sufficient amount of gel to re-gel approximately 50 small animal transmitters • Available On Site Training
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details