## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 101 | Bidder: |  | TOTAL DAP PRICE OF LOT No101: |  |  | 0
Delivery address: Institut za biološka istraživanja `Siniša Stanković` u Beogradu, Bulevar despota Stefana 142, 11060 Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | ULTRAMICROTOME |  |  | 1 | 0 | 0
| 1648 | Ultramicrotome provides preparation of semi-thin and ultra-thin sections for electron microscope. stereo zoom microscope with min 8x zoom magnification, eucentric microscope movement with 180 degrees swiveling microscope carrier, with defined click positions for glass knife and diamond knife operations, with gravity cutting stroke, integrated camera, built-in antivibration system, multi-LED illumination system for top light, spot light, back light and specimen trans, Illumination, with LED illumination brightness controlled, fully motorized knife stage for N-S and E-W movement (25 mm E-W, 10 mm N-S), including N-S step movement (from 0.1 to 15 µm steps), antivibration table with integrated elbow rests, touch screen controlling the ultramicrotome, cutting speed setting from 0.05 to 100 mm/s, section thickness setting 0 – 15000 nm, auto trim function, rocking mode trim function, start-up kit of consumables including: glass strips of 6.4 and 8 mm, dental wax, trufs for 6.4 and 8mm glasses, copper grids 100/200/300/400 mesh, 10 pcs. gridboxes, embedding molds 5.6 and 8 mm, forceps straight tip, diamond knife 3.0 mm, providing of manual training for the users.
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details