## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 148 | Bidder: |  | TOTAL DAP PRICE OF LOT No148: |  |  | 0
Delivery address: Institut za biološka istraživanja `Siniša Stanković` u Beogradu, Bulevar despota Stefana 142, 11108 Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Air flow cabinet |  |  | 1 | 0 | 0
| 1674 | for conditioned keeping of laboratory mice under low microbiological contamination - capacity: min. 48 cages - combined (positive/negative) pressure - heating - lighting - air humidification - active carbon filter - pre-filter and HEPA filter in supply and exhaust air - transparent airtight doors - cages for mice housing with complete additional parts (cover, water bottles…) - spare cages, HEPA filters
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details