## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 173 | Bidder: |  | TOTAL DAP PRICE OF LOT No173: |  |  | 0
Delivery address: Univerzitet u Novom Sadu, Trg Dositeja Obradovica 3, Novi Sad, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | GPC/SEC TETRA DETECTORS SISTEM |  |  | 1 | 0 | 0
| 5022 | 1.Advanced Gel Permeation Chromatography (GPC) and Size Exclusion Chromatography (SEC) with solvent and sample delivery module specifically designed for GPC/SEC applications and including degasser and autosampler. 2. Tetra detectors system consisting of integrated array of 4 detectors in one temperature-controlled unit with: a) The light scattering detector which includes RALS and LALS to directly measure across the complete range of molecular weight with high sensitivity and accuracy. b) Refractive Index (RI) c) Photo diode array UV detector (PDA) d) Viscometer with column oven and temperature control (Vis) The system should be easy upgradeable with the fifth detector for measuring the size and Z potential of nano particles. Above configuration should represent specific GPC/SEC module for molecular weight, molecular size, intrinsic viscosity and molecular structure analysis. One unique compartment should allow accomodating up to 5 GPC columns and detectors cells maintained at the same temperature. 3. Complete Software package contains all calculation modules (Conventional, universal and triple detection/LS) plus copolymer analysis module. The complete equipment should be controlled by one piece of software. 4. Mini Tower PC and operating system. 5. Dextran and polystyrene standards for LS/TD, Narrow + Broad Mix standards. 6. Organic guard column; General mixed aqua column; Aqua guard column
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details