## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 177 | Bidder: |  | TOTAL DAP PRICE OF LOT No177: |  |  | 0
Delivery address: Institut za fiziku u Beogradu, Pregrevica 118, 11080 Belgrade, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Automatic Sun Tracking Photometer |  |  | 1 | 0 | 0
| 609 | The main purpose of CE 318 automatic sun tracking photometer is to measure sun and sky radiances using a combination of spectral filters and azimuth/zenith viewing controlled by a microprocessor. From analysis of these measurements aerosol properties necessary for estimating their climate impact, as well as total column water vapor can be obtained. The CE 318N-EBS9 has been designed and realized to be a very accurate sun photometer with all the qualities of a field instrument: motorized, portable, autonomous (solar powered) and automatic. Measurement channels 340 nm, 380 nm, 440 nm, 500 nm, 675 nm, 870 nm, 936 nm, 1020 nm, and 1640 nm Half FOV 0.65º Bandwidth 10 nm at full width at half maximum for 440, 500, 675, 870, 936 and 1020 nm filters Bandwidth 2nm for 340 nm filter, 4nm for 380 nm filter and 25 nm for 1640 nm filter Detector UV enhanced silicon detector for 340 to 1020 nm filters; Ingaas detector for 1640 nm filter Operating temperature -30 to +60ºC Sun tracking method Tracking in zenith and azimuth planes; active tracking by a 4-quadrant detector; accuracy better than 0.1º Data output and transfer Local reading; storage in EPROM readable on PC
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details