## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 179 | Bidder: |  | TOTAL DAP PRICE OF LOT No179: |  |  | 0
Delivery address: Institut za fiziku u Beogradu, Pregrevica 118, 11080 Beograd, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
2 | Ionimed Gass Calibration Unit |  |  | 1 | 0 | 0
| 499 | Gas Calibration Unit (GCU) is dynamic gas dilution system that provides variable but known quantities of different standard compounds in a carrier gas stream, enabling accurate calibrations to be made. The GCU systems have been designed as standalone device for use with many different analytical VOC instruments, but are particularly suited to PTR-MS systems, offering semi-automatic calibration functionality. The GCU-advanced (GCU-a) bases itself on the GCU-s but offers calibration at increased humidity (to 40 °C). This feature, plus an additional CO2 flow, makes the GCU-a particularly suited to applications (e.g. breath gas analysis or biotechnology), where high sample gas humidity and CO2 content can affect the PTR-MS sensitivity.Dilution range 9:1 to 5000:1,Passivated Mass Flow Controler (MFC) wetted surfaces of standard gas MFC passivated by SilcoNert 2000 coating,Zero-air production producing volatile organic compounds free air (below 5 ppt), flow: 0.18-2.00 l min-1 Humidity range 10-100% at 370C,Split Mass Flow Controler for accurate humidity control Heated housing to avoid condensation,CO2 admixing 0-10%,Controlable via Ethernet interface, Software ,Customizable operation sequences ,Automated peak calibrations for quality control ,Automated instrumental background determination using zero-air ,Calibration of several instruments
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details