## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 186 | Bidder: |  | TOTAL DAP PRICE OF LOT No186: |  |  | 0
Delivery address: Fakultet tehničkih nauka u Novom Sadu, Trg Dositeja Obradovića 6, Novi Sad, Serbia |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | LTCC |  |  | 1 | 0 | 0
| 5656 | LTCC furnace with conveyer belt: The following characteristics are REQUIRED:  Technical characteristics • Number of temperature control zones ≥ 6 • Maximal temperature ≥ 950 °C • Conveyer belt width ≥ 150 mm • Tunnel height (product clearance) ≥ 40 mm • Heated Length ≥ 1900 mm • Cooling system  Transport, installation and service characteristics • Transport to customer included • Installation and calibration of equipment included • Initial operational and maintenance training of customers’ engineers included • Technical support available for at least 1 year after installation • Technical documentation included • Warranty ≥ 3 months • Equipment compliance to European standards: 220/400 V, 50 Hz
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details